## Feb
The Run Summary For The n3He Experiment (February 2015) |  |  |  |  | Record of Important Changes
Date | Shift | Shift Crew | Run Numbers or Range(Keep Order) | Summary/Comments/Issues/Changes | Run Number | Changes
2015-12-02 | Evening | Carlos |  | No relevant issues
2015-12-02 | Evening | Carlos | 15158, 15179, 15194, 15201 | Double trigger
[5 empty] | 14586 | Changed run length to 25000 T0
2015-02-19 | Evening | Kabir | 16582-16898 | No beam, testing batch panel to ADC channel map for dirty DAQ | 14777 | Chamber rotated to PC position
[5 empty] | 15867-15924 | Chopper Tuning
2015-02-19 | Evening | Kabir | 16899-16925 | Good run. No issue at all.
[5 empty] | 15925-16112 | Polarimetry
2015-02-20 | day | paul mueller | 16966 - [ no 16975 ] - | 16981 , 16993 , 17013 have shifted spin flipper spectra
[5 empty] | 16390 | Chamber rotated back to normal position
|  |  | 169704 | no neutron beam
[5 empty] | 16899 | Connected M1 and SF to ch-8 and ch-25
2015-02-21 | Day | Carlos | 17152,17153,17154,17155,17156,17157,17171,17182,17196,17198,17200,17201,17215,17216 | dropped beam | 16899 | Dirty data now have event number
2015-02-21 | Day | Carlos | 17169,17170 | no beam
2015-02-21 | Evening | Connor | 17220,17287
2015-02-21 | Evening | Connor | 17223,17225,17230,17234,17236,17237,17238,17240,17246,17250,17252,17253,17254,17255,17258,17262,17263,17264,17269,17271-17274 | problem runs
2015-02-22 | 00:00-8:00 | Noah | 17310, 17323,17324, 17327, 17329, 17330, 17337, 17339, 17341, 17342, 17343, 17344, 17345, 17346, 17347, 17351, 17355 | problem runs | 17357 | Closed secondary shutter to begin instrumental asymmetry data taking process
[5 empty] | 17400 | Connected M1 and SF to ch-26 and ch-27

## March
The Run Summary For The n3He Experiment (March 2015) |  |  |  |  | Record of Important Changes
Date | Shift | Shift Crew | Run Numbers or Range | Summary/Comments/Issues/Changes | Run Number | Changes

## April
The Run Summary For The n3He Experiment (April 2015) |  |  |  |  | Record of Important Changes
Date | Shift | Shift Crew | Run Numbers or Range | Summary/Comments/Issues/Changes | Run Number | Changes