## Inventory and Costs
FULL COSTS
| Standard System (with initial 1K consumables) | [5 empty] | 6323.0218
| Standard System (only) | [5 empty] | 2881.7
| Mini System (with initial 1K consumables) | [5 empty] | 4953.8118
| Mini System (only) | [5 empty] | 1608.69
| Model 1K Consumables | [5 empty] | 3498.0718
CURRENT INVENTORY
| Last Updated: | 2022-08-29
| By: | Gary W
Lab Consumables
| Description | Supply Type | Inv_Portola | # in Bundle | Bundles | Cost (each) | Cost/Bundle
| 1000uL Universal Tip Box | FL Ship - Standard | 77 | 3 | 25 | 8.369 | 25.107
| 200uL Universal Tip Box | FL Ship - Standard | 108 | 3 | 36 | 6.838 | 20.514
| 10uL Universal Tip Box (Long) | FL Ship - Standard | 121 | 10 | 12 | 9.469 | 94.69
| 10uL Universal Tip Box (Short) | FL Ship - Standard | 158 | 10 | 15 | 5.675 | 56.75
| 50mL Falcon Tube | FL Ship - Standard | 500 | 10 | 50 | 0.22968 | 2.2968
| 30mL Chub Tube | FL Ship - Standard | 425 | 10 | 42 | 0.288 | 2.88
| 5mL Snap Tube | FL Ship - Standard | 260 | 20 | 13 | 0.20055 | 4.011
| 1.5mL Snap Cap Tube | FL Ship - Standard | 400 | 50 | 8 | 0.05794 | 2.897
| PCR Strip8 Tubes and Caps | FL Ship - Standard | 3200 | 128 | 25 | 0.72188 | 92.4
| 96-Well PCR Plate | FL Ship - Standard | 1020 | 10 | 102 | 3.59 | 35.9
| Foil Plate Seal | FL Ship - Standard | 2000 | 20 | 100 | 1.118 | 22.36
| Reagent Reservoir | FL Ship - Standard | 950 | 10 | 95 | 0.578 | 5.78
337.4458
FORMULAS
| Reagent Reservoir |  | 950 | 10
| 5mL Snap Tube |  | 260 | 20
| 1.5mL Snap Cap Tube |  | 400 | 50
| 30mL Chub Tube |  | 425 | 10
| 50mL Falcon Tube |  | 500 | 10
| 96-Well PCR Plate |  | 1020 | 10
| PCR Strip8 Tubes and Caps |  | 3200 | 128
| Foil Plate Seal |  | 2000 | 20
| 1000uL Universal Tips |  | 77 | 3
| 200uL Universal Tips |  | 108 | 3
| 10uL Universal Tips - Long |  | 121 | 10
| 10uL Universal Tips - Short |  | 158 | 10
PRODUCT IDS
| P_Reservoir_10mL_Oly |  | 200 | 10
| P_Reservoir_5mL_H637 |  | 750 | 10
| P_Tube_5mL_snap_MTC |  | 120 | 20
| P_Tube_5mL_snap_ED |  | 100 | 20
| P_Tube_5mL_snap_CL |  | 40 | 20
| P_Tube_1.5mL_EDLB |  | 400 | 50
| P_Tube_30mL_ChubSS |  | 425 | 10
| P_Tube_50mL_FalconOC |  | 500 | 10
| P_PCR_96plate_USA200 |  | 1020 | 10
| P_PCRStrips_USA |  | 3200 | 128
| P_FoilSeals_MTC |  | 2000 | 20
| P_Tips_Univ_1000uL_Biotix |  | 45 | 3
| P_Tips_Univ_1000uL_Gilson |  | 32 | 3
| P_Tips_Univ_200uL_Biotix |  | 108 | 3
| P_Tips_Univ_10uL_Biotix_long |  | 121 | 10
| P_Tips_Univ_10uL_Oxf_short |  | 90 | 10
| P_Tips_Univ_10uL_Biotix_short |  | 68 | 10
Reagents
| Description | Supply Type | Inv_Portola | # in Bundle | Bundles | Cost (each) | Cost/Bundle
| Primer Solution | FL Ship - Prep | 659 | 22 | 29 | 9.02 | 198.44
| 100X Inactivation Solution | FL Ship - Prep | 204 | 3 | 68 | 6.5 | 19.5
| NEB Colorimetric LAMP Master Mix |  | 10 | 11 | 0 | 216 | 2376
| Amplification Positive Control | FL Ship - Prep | 303 | 24 | 12 | 0.169 | 4.056
x (2) | Saline in Falcon tube 50mL | FL Ship - Prep | 65 | 10 | 6 | 2.55 | 25.5
| Saline in Bottle 250mL | FL Ship - Standard | 5 | 1 | 5 | 8.99 | 8.99
2632.486
PRODUCT IDS
| PF_PGS-48 | 659 | 31632
| PF_100XIS_5mL | 204
| PF_Saline_50ml | 65
| PF_TPC | 303
| P_CLAMPMM_NEB_M1804 | 10
| P_Saline_NA250 | 5
PF_GD50_5mL
PF_GD50_1.5mL
Collection Materials
| Description | Supply Type | Inv_Portola | # in Bundle | Bundles | Cost (each) | Cost/Bundle
| 1.5mL QR Coded Tube | FL Ship - Prep | 4700 | 1000 | 4 | 0.07 | 70
| 5mL QR Coded Tube | FL Ship - Prep | 98000 | 1000 | 98 | 0.15 | 150
| Collecton Swab | FL Ship - Standard | 200000 | 4000 | 50 | 0.07 | 280
500
PRODUCT IDS
| P_Tube_1.5mL_MBlueScrew | 4700
| P_Swab_JableUR | 200000
| P_ColTubeQR_5mL_Jable1 | 98000
P_Tube_5mL_Transport_MTC
P_Tube_1.5mL_SSI
P_Bag_Slider_U6x9
PF_CollectionPamphlet_v2_PDC
P_BioHazBag_D2x5
Equipment
| Description | Supply Type | Inv_Portola | # in Bundle | Bundles | Cost (each) | Cost/Bundle
| Mini freezer | Direct Ship | 0 | 1 | 0 | 241.5 | 241.5
| Mini fridge | Direct Ship | 0 | 1 | 0 | 224.97 | 224.97
| Water Bath | Direct Ship | 3 | 1 | 3 | 198.99 | 198.99
X | Dry Heater for Plate | FL Ship - Prep | 9 | 1 | 9 | 591 | 591
X | Mini Heater | FL Ship - Prep | 9 | 2 | 4 | 175.99 | 351.98
ds | Mini centrifuge | Direct Ship | 2 | 1 | 2 | 87.99 | 87.99
ds | Vortexer | Direct Ship | 4 | 2 | 2 | 100 | 200
X | Electric dispenser |  | 12 | 1 | 12 | 600 | 600
Manual dispenser
ds | Pipette 10-100 uL |  | 6 | 1 | 6 | 56 | 56
ds | Pipette 100-1000uL |  | 7 | 1 | 7 | 56 | 56
ds | Pipette Fixed 2uL |  | 21 | 1 | 21 | 56 | 56
X | Pipette 8-Channel 10-100uL |  | 7 | 1 | 7 | 235 | 235
2899.43
FORMULAS
| Mini freezer |  | 0 | 1
| Mini fridge |  | 0 | 1
| Water Bath |  | 3 | 1
| Mini centrifuge |  | 2 | 1
| Vortexer |  | 4 | 1
| Electric dispenser |  | 12 | 1
| Dry Heater for Plate |  | 9 | 1
| Pipette 10-100 uL |  | 6 | 1
| Pipette 100-1000uL |  | 7 | 1
| Pipette Fixed 2uL |  | 21 | 1
| Pipette 8-Channel 10-100uL |  | 7 | 1
| Mini Heater |  | 9 | 1
PRODUCT IDS
| P_FreezerMini_Whyn |  | 0 | 1
| P_FridgeMini_hOm |  | 0 | 1
| P_WaterBath_IVYX |  | 3 | 1
| P_CentrifugeMini_4Es |  | 2 | 1
| P_Vortexer_4Es |  | 4 | 2
| P_Dispenser_Elec_Scilgx |  | 12 | 1
P_Dispenser_10mL_Microlit
| P_HeatBlocks_96PCR_XX |  | 3 | 1
| P_HeaterDry_96_BnchMB2 |  | 6 | 1
| P_Pipette_P100_Microlit |  | 6 | 1
| P_Pipette_P1000_Microlit |  | 7 | 1
| P_Pipette_P2F_Microlit |  | 21 | 1
| P_Pipette8Ch_V100 |  | 7 | 1
| P_HeaterDry_96_SWSciXX |  | 3 | 1
| P_HeaterDry_Mini_4Es |  | 9 | 2
P_HeatBlock_MiniPCR_BTL
P_HeatBlock_MiniPCR_GBI
P_HeatBlock_Mini_1.5mL
P_Air_Purifier_Medify
P_SensorPush_Sensor
P_SensorPush_Gateway
P_Cart_Homz
P_Lightbox_D20
Lab Supplies
| Description | Supply Type | Inv_Portola | # in Bundle | Bundles | Cost (each) | Cost/Bundle
| Flipper racks (separate) |  | 28 | 2 | 14 | 5.665 | 11.33
| Flipper rack blocks - 4 zipped |  | 11 | 1 | 11 | 22.75 | 22.75
| Light Blue 5mL 50 tube racks |  | 10 | 2 | 5 | 3.995 | 7.99
| 1.5mL tube racks |  | 4 | 2 | 2 | 3.565 | 7.13
x | PCR racks |  | 26 | 2 | 13 | 5.98 | 11.96
x | Hinged Box |  | 7 | 1 | 7 | 5.04 | 5.04
| 500mL Glass bottle |  | 21 | 1 | 21 | 12.75 | 12.75
x? | Thermometers freezer |  | 8 | 2 | 4 | 13.58 | 27.16
x | Timers |  | 29 | 2 | 14 | 1.66 | 3.32
x (1) | PCR Cold Blocks |  | 12 | 2 | 6 | 31.53 | 63.06
x | Versi Rack |  | 18 | 1 | 18 | 2 | 2
x (2) | 3D LookUp racks 5mL x 48 HALF |  | 12 | 1 | 12 | 2 | 2
| 3D LookUp racks 5mL x 96 FULL |  | 19 | 2 | 9 | 4 | 8
184.49
PRODUCT IDS
| P_ColdBlock_PCR_G | 12
| P_GlassBottle_500mL_KAR | 21
| P_Rack_1.5mL_OLY | 4
| P_Rack_50Tubes_5mL_ULA | 10
| P_Rack_Flipper | 28
| PF_Rack_Flipper_4Block | 11
| P_Rack_HingeBox | 7
| P_Rack_PCR | 26
| PF_Versirack | 18
| P_ThermometersFreezer_ETH | 8
| P_Timers_LIN | 29
| PF_Rack_LookUp_48Half_5mL | 12
| PF_Rack_LookUp_96Full_5mL | 19
P_Baggies_3x4_SNL
Misc Supplies
| Description | Supply Type | Inv_Portola | # in Bundle | Bundles | Cost (each) | Cost/Bundle
| Biohazard Baggies Small |  | 230 | 50 | 4 | 0.4 | 20
| Biohazard Baggies Stand |  | 0 | 1 | 0 | 27.07 | 27.07
x | Calculator |  | 7 | 1 | 7 | 10.29 | 10.29
x | Clipboard |  | 8 | 1 | 8 | 2.7 | 2.7
x (1) | Foil |  | 27 | 2 | 13 | 9.88 | 19.76
x | Lab Coat |  | 13 | 1 | 13 | 23 | 23
x | Lightbox | Direct Ship | 0 | 1 | 0 | 16.44 | 16.44
x | Pen (marked clean) |  | 15 | 1 | 15 | 1.56 | 1.56
x | Razor Blades |  | 45 | 10 | 4 | 0.1 | 1
x | Sharpie Twin Tip |  | 24 | 1 | 24 | 1.41 | 1.41
x | Spray Bottle Set |  | 12 | 1 | 12 | 5.99 | 5.99
| Green Tape |  | 0 | 1 | 0 | 4.28 | 4.28
| Orange Tape |  | 0 | 1 | 0 | 4.28 | 4.28
x | Tip Bucket |  | 6 | 2 | 3 | 3 | 6
x | Bleach Concentrated 50mL |  | 0 | 2 | 0 | 0.5 | 1
x (2) | Cryobox Cardboard |  | 0 | 1 | 0 | 1.6 | 1.6
x | Hooks for Coats |  | 15 | 2 | 7 | 1.22 | 2.44
x | Hooks Little |  | 15 | 2 | 7 | 0.42 | 0.84
| Signage Printouts in Manila Folder (8) |  | 11 | 1 | 11 | 0.1 | 0.1
149.76
PRODUCT IDS
| P_BioTrashBag_S | 230
| P_BioTrashBag_Stand | 0
| P_Calculator | 7
| P_Clipboard | 8
| P_Foil_UltraClean | 27
| P_Gloves_Latex_M | 11
| P_LabCoat_RK_L | 6
| P_LabCoat_RK_M | 5
| P_LabCoat_RK_S | 0
| P_LabCoat_RK_XL | 2
| P_LabWipes_L | 13
| P_LabWipes_S | 15
| P_Pen | 15
| P_RazorBlade_MBC | 45
| P_SharpieTwinTip | 24
| P_SprayBottle_Set | 12
| P_Tape_Green | 2
| P_Tape_Orange_MBC | 0
| P_TipBucket_PVplastic | 6
| P_BleachConc_50mL | 0
| P_Cyrobox_MBC_Gen | 0
| P_Hooks_Coat | 15
| P_Hooks_Lil | 15
| PF_PrintoutStationaryKit | 11

## Master Inventory (Raw)
| REAGENTS | [6 empty] | UDPATED
Delivery | Product ID | Description | Last Inv. Date | Init | Packs | Units/Pack | Qty. | Inv Date | Init | Packs | Units/Pack | Qty. | Current Lot |  | Rxn/tube | Rxn
FL Ship Reagents | PF_PGS-48 | LAMP Primer Solution 48 rxns | 2022-09-13 | GW |  |  | 1116 | [6 empty] | Primer Solution (48 rxn) | 48 | 53568
FL Ship Reagents | PF_100XIS_5mL | 100X Inactivation Solution - 500 samples | 2022-09-13 | GW |  |  | 165 | [6 empty] | 100X Inactiv. Sol. (500 samples) | 500 | 82500
Direct Shipped NEB | P_CLAMPMM_NEB_M1804 | Colormetric LAMP Master Mix | 2022-09-13 | GW |  |  | 40 | [6 empty] | NEB CLAMP Master Mix (96 rxn) | 96 | 3840
| PF_Saline_5mL | 5mL Saline in a Snap Cap | [5 empty] | 2023-09-25 | BS |  |  | 8
FL Ship Main | PF_Saline_50ml | 0.9% Saline in 50mL Tube - 50 samples | 2022-09-13 | GW |  |  | 601 | 2023-09-25 | BS |  |  | 50
FL Ship Main | P_Saline_NA250 | Saline Bottle 250mL | 2022-09-15 | GW |  |  | 6 | 2023-09-25 | BS |  |  | 6
| P_Saline_1L | 1L Saline Bottle | [5 empty] | 2023-09-25 | BS |  |  | 6
| PF_Saline_Kit | Portioned Saline Kit | [5 empty] | 2023-09-25 | BS |  |  | 8
FL Ship Reagents | PF_TPC | Amp Positive Control (20uL in Strips) | 2022-09-22 | GW |  |  | 119
FL Ship Reagents | PF_GD50_5mL | GD50 Contrived Positive
FL Ship Reagents | PF_GD50_1.5mL | GD50 Contrived Positive
| LAB CONSUMABLES | [6 empty] | UDPATED
Delivery | Product ID | Description | Last Inv. Date | Init | Packs | Units/Pack | Qty. | Inv Date | Init | Packs | Units/Pack | Qty. | Notes
FL Ship Main | P_Tube_5mL_snap_MTC | 5mL Snap Cap Tube | 2022-09-16 | BS |  |  | 120 | 2023-09-23 | BS | 6 | 20 | 120 | 6 packs of 20
FL Ship Main | P_Tube_5mL_snap_ED_mixed (pre split) | 5mL Snap Cap Tube | 2022-09-16 | BS |  |  | 160
FL Ship Main | P_Tube_5mL_snap_CL | 5mL Snap Cap Tube | 2022-09-16 | BS |  |  | 20 | 2023-09-23 | BS |  |  | 20
| P_Tube_5mL_snap_ED_310 | [6 empty] | 2023-09-23 | BS |  |  | 100
| P_Tube_5mL_snap_ED_460 | [6 empty] | 2023-09-23 | BS |  |  | 60
FL Ship Main | P_Tube_1.5mL_EDLB | 1.5mL Snap Cap Tube | 2022-09-16 | BS |  |  | 350 | 2023-09-23 | BS |  |  | 250 | Box of 81 going to alpine
FL Ship Main | P_Tube_1.5mL_Globe | 1.5mL Snap Cap Tube | 2022-09-16 | BS |  |  | 200 | 2023-09-25 | BS | 6 | 25 | 150
| PF_1.5mL_Tube_Kit | [6 empty] | 2023-09-23 | BS | 5 | 50 | 200 | packs of 50
FL Ship Main | P_Tube_30mL_ChubSS | 30mL Chub Tube | 2022-09-16 | BS |  |  | 450 | 2023-09-25 | BS |  |  | 370
FL Ship Main | P_Tube_50mL_FalconOC | 50mL Falcon Tube | 2022-09-16 | BS |  |  | 425 | 2023-09-25 | BS | 16 | 25 | 400
FL Ship Main | P_Reservoir_10mL_Oly | Reagent Reservoir | 2022-09-12 | GW |  |  | 200 | 2023-09-25 | BS | 2 | 100 | 200
FL Ship Main | P_Reservoir_5mL_H637 | Reagent Reservoir | 2022-09-12 | GW |  |  | 697 | 2023-09-25 | BS |  |  | 730
FL Ship Main | P_PCR_96plate_USA200 | 96-Well PCR Plate | 2022-09-12 | GW |  |  | 1010 | 2023-09-25 | BS |  | 100 | 1040
FL Ship Main | P_PCRStrips_USA | PCR Strip8 Tubes and Caps | 2022-09-12 | GW |  |  | 2875 | 2023-09-25 | BS | 20 | 125 | 2500
| PF_StripTubeKit_USA48 | kits of 48 strips and caps | [5 empty] | 2023-09-23 | BS |  |  | 5
FL Ship Main | P_FoilSeals_MTC | Foil Plate Seal | 2022-09-12 | GW |  |  | 1950 | 2023-09-25 | BS | 20 | 100 | 2000
FL Ship Main | P_Tips_Univ_1000uL_Biotix | 1000uL Universal Tips | 2022-09-12 | GW |  |  | 27 | 2023-09-26 | BS |  | 10 | 4
FL Ship Main | P_Tips_Univ_1000uL_Gilson | 1000uL Universal Tips | 2022-09-12 | GW |  |  | 35 | 2023-09-26 | BS |  | 10 | 46
FL Ship Main | P_Tips_Univ_200uL_Biotix | 200uL Universal Tips | 2022-09-12 | GW |  |  | 110 | 2023-09-26 | BS |  | 10 | 103
FL Ship Main | P_Tips_Univ_10uL_Biotix_long | 10uL Universal Tips | 2022-09-12 | GW |  |  | 97 | 2023-09-26 | BS |  | 10 | 77
FL Ship Main | P_Tips_Univ_10uL_Biotix_short | 10uL Universal Tips | 2022-09-12 | GW |  |  | 67 | 2023-09-26 | BS | 7 | 10 | 70
| EQUIPMENT | [6 empty] | UDPATED
Delivery | Product ID | Description | Last Inv. Date | Init | Packs | Units/Pack | Qty. | Inv Date | Init | Packs | Units/Pack | Qty. | Notes
FL Ship Main | P_Dispenser_Elec_Scilgx | Electric dispenser | 2022-09-14 | GW |  |  | 14
FL Ship Main | P_Dispenser_2.5mL_Microlit | Manual dispenser | 2022-09-12 | GW |  |  | 1
FL Ship Main | P_Pipette_P100_Microlit | Pipette 10-100 uL | 2022-09-12 | GW |  |  | 10 | [5 empty] | 3 need calibration
FL Ship Main | P_Pipette_P1000_Microlit | Pipette 100-1000uL | 2022-09-12 | GW |  |  | 8
FL Ship Main | P_Pipette_PF2_Microlit | Pipette Fixed 2uL | 2022-09-12 | GW |  |  | 20
FL Ship Main | P_Pipette8Ch_V100 | Pipette 8-Channel 10-100uL | 2022-09-12 | GW |  |  | 7
FL Ship Main | P_HeaterDry_Mini_4Es | Mini Heater | 2022-09-12 | GW |  |  | 7
FL Ship Main | P_HeaterDry_96_SWSci | Dry Heater for Plate | 2022-09-12 | GW |  |  | 3
FL Ship Main | P_HeaterDry_96_BnchMB2 | Dry Heater for Plate | 2022-09-12 | GW |  |  | 6
FL Ship Main | P_HeatBlock_MiniPCR_BTL | Mini PCR Heat Block | 2022-09-12 | GW |  |  | 11
FL Ship Main | P_HeatBlock_MiniPCR_GBI | Mini PCR Heat Block | 2022-09-12 | GW |  |  | 0
FL Ship Main | P_HeatBlock_Mini_1.5mL | Mini 1.5mL Heat Block | 2022-09-16 | BS |  |  | 7
Direct Ship Immediate | P_WaterBath_IVYX | Water Bath | 2022-09-12 | GW |  |  | 1 | [5 empty] | +2 active (1 Alpine, 1 Portola)
Direct Ship Immediate | P_CentrifugeMini_4Es | Mini centrifuge | 2022-09-12 | GW |  |  | 4
Direct Ship Immediate | P_Vortexer_4Es | Vortexer | 2022-09-12 | GW |  |  | 4
Direct Ship Immediate | P_Lightbox_D20 | Lightbox | 2022-09-14 | BS/GW |  |  | 2
| LAB SUPPLIES | [6 empty] | UDPATED
Delivery | Product ID | Description | Last Inv. Date | Init | Packs | Units/Pack | Qty. | Inv Date | Init | Packs | Units/Pack | Qty. | Notes
FL Ship Main | P_ColdBlock_PCR_G | PCR Cold Blocks | 2022-09-12 | GW |  |  | 11 | [5 empty] | 3 need cleaning
FL Ship Main | P_GlassBottle_250mL_KAR | 500mL Glass bottle | 2022-09-16 | BS |  |  | 21
FL Ship Main | P_Rack_1.5mL_OLY | 1.5mL tube racks | 2022-09-16 | BS |  |  | 2
FL Ship Main | P_Rack_50Tubes_5mL_ULA | Light Blue 5mL 50 tube racks | 2022-09-16 | BS |  |  | 8
FL Ship Main | P_Rack_Flipper | Flipper racks (separate) | 2022-09-16 | BS |  |  | 27
FL Ship Main | PF_Rack_Flipper_4Block | Flipper rack blocks - 4 zipped | 2022-09-12 | GW |  |  | 8
FL Ship Main | P_Rack_HingeBox | Hinged Box | 2022-09-16 | BS |  |  | 6
FL Ship Main | P_Rack_PCR | PCR racks | 2022-09-16 | BS |  |  | 60
FL Ship Main | PF_Versirack | Versi Rack | 2022-09-16 | BS |  |  | 17
FL Ship Main | P_ThermometersFreezer_ETH | Thermometers freezer | 2022-09-16 | BS |  |  | 20
FL Ship Main | P_Timers_LIN | Timers | 2022-09-16 | BS |  |  | 27
FL Ship Main | PF_Rack_LookUp_48Half_5mL | 3D LookUp racks 5mL x 48 HALF | 2022-09-16 | BS |  |  | 20
FL Ship Main | PF_Rack_LookUp_96Full_5mL | 3D LookUp racks 5mL x 96 FULL | 2022-09-12 | BS |  |  | 23
FL Ship Main | P_Baggies_3x4_SNL | Baggie 3x4 | 2022-09-16 | BS |  |  | 950
Direct Ship Immediate | P_Eyewash_Station | Eyewash Station | 2022-09-16 | BS |  |  | 1
| COLLECTION MATERIALS | [6 empty] | UDPATED
Delivery | Product ID | Description | Last Inv. Date | Init | Packs | Units/Pack | Qty. | Inv Date | Init | Packs | Units/Pack | Qty. | Notes
FL Ship Main | P_Swab_JableUR | Jable UR Swabs | 2022-09-12 | GW |  |  | 172900
FL Ship Main | P_ColTubeQR_5mL_Jable1 | 5mL collection tubes (Jable blue cap) | 2022-09-12 | GW |  |  | 89500
FL Ship Main | PF_ColTubeQR_5mL_M1 | 5mL collection tubes (MTC Bio w our label) | 2022-09-13 | GW |  |  | 3000
FL Ship Main | PF_ColTubeQR_1.5mL_BSC1 | 1.5m collection tubes (MTC Blue Screw cap) | 2022-09-12 | GW |  |  | 500
FL Ship Main | P_Bag_Slider_U6x9 | Collection Kit Outer Bag | 2022-09-16 | BS |  |  | 770
FL Ship Main | PF_CollectionPamphlet_v2_PDC | Pamplet Collection Instructions | 2022-09-16 | BS |  |  | 800
FL Ship Main | P_BioHazBag_D2x5 | Biohazard Bags for Collection | 2022-09-16 | BS |  |  | 3200
| MISC SUPPLIES | [6 empty] | UDPATED
Delivery | Product ID | Description | Last Inv. Date | Init | Packs | Units/Pack | Qty. | Inv Date | Init | Packs | Units/Pack | Qty. | Notes
FL Ship Main | P_Calculator | Calculator | 2022-09-16 | BS |  |  | 6
FL Ship Main | P_Clipboard | Clipboard | 2022-09-16 | BS |  |  | 8
FL Ship Main | P_Foil_UltraClean | Foil | 2022-09-16 | BS |  |  | 23 | 2023-09-25 | BS | 22 | 1 | 22
FL Ship Main | P_Gloves_Latex_S_GenX | Latex Gloves S | 2022-09-16 | BS |  |  | 0
FL Ship Main | P_Gloves_Latex_M_GenX | Latex Gloves M | 2022-09-16 | BS |  |  | 5
FL Ship Main | P_Gloves_Latex_L_GenX | Latex Gloves L | 2022-09-16 | BS |  |  | 0
FL Ship Main | P_LabCoat_RK_S | Lab Coat | 2022-09-16 | BS |  |  | 1
FL Ship Main | P_LabCoat_RK_M | Lab Coat | 2022-09-16 | BS |  |  | 0
FL Ship Main | P_LabCoat_RK_L | Lab Coat | 2022-09-16 | BS |  |  | 4
FL Ship Main | P_LabCoat_RK_XL | Lab Coat | 2022-09-16 | BS |  |  | 6
FL Ship Main | P_LabWipes_S_VWRLD | Science Precision wipes | 2022-09-16 | BS |  |  | 2
FL Ship Main | P_LabWipes_L_KimGreen | Science Precision wipes | 2022-09-16 | BS |  |  | 14
FL Ship Main | P_Pen | Pen | 2022-09-16 | BS |  |  | 8
FL Ship Main | P_RazorBlade_Uline | Razor Blades | 2022-09-16 | BS |  |  | 11
FL Ship Main | P_SharpieTwinTip | Sharpie Twin Tip | 2022-09-16 | BS |  |  | 70
FL Ship Main | P_SprayBottle_Set | Spray Bottles | 2022-09-16 | BS |  |  | 34
FL Ship Main | P_Tape_Orange_VWR | Orange Tape | 2022-09-16 | BS |  |  | 10
FL Ship Main | P_TipBucket_PVplastic | Tip Bucket | 2022-09-16 | BS |  |  | 4
FL Ship Main | P_BleachConc_50mL | Bleach Concentrated 50mL | 2022-09-16 | BS |  |  | 0
FL Ship Main | P_Cyrobox_Gen | Cryobox Cardboard | 2022-09-16 | BS |  |  | 0 | 2023-09-25 | BS |  |  | 44
FL Ship Main | P_Hooks_Coat | Hooks for Coats | 2022-09-16 | BS |  |  | 41
FL Ship Main | P_Hooks_Wire | Small Wire Hooks | 2022-09-16 | BS |  |  | 17
| P_BottleShipper_500mL_Orange | Orange shipper for 500mL bottle | [5 empty] | 2023-09-25 | BS |  |  | 9
FL Ship Main |  | Diagram Printouts (2) | 2022-09-16 | BS |  |  | 12
FL Ship Main |  | Lab Signage Printouts (8)
FL Ship Main |  | Test Training Run Form Printout
FL Ship Main |  | Reaction Mix Table Form Printout
FL Ship Main |  | 1X Inactiv. Sol. Table Form Printout
| TRAINING KIT | [6 empty] | UDPATED
Delivery | Product ID | Description | Last Inv. Date | Init | Packs | Units/Pack | Qty. | Inv Date | Init | Packs | Units/Pack | Qty. | Notes
FL Ship Main |  | Training 1.5mL Tubes
FL Ship Main |  | Training 30mL Chub Tubes
FL Ship Main |  | Training 5mL Snap Tubes
FL Ship Main |  | Mock PGS
FL Ship Main |  | Mock CLAMPMM
FL Ship Main |  | Mock 100XIS
FL Ship Main |  | Mock 50mL Saline
FL Ship Main |  | Mock TPC
FL Ship Main |  | Combo Protocol
FL Ship Main |  | Protocol Log
FL Ship Main |  | Run Worksheet
| TRAINING KIT | [6 empty] | UDPATED
| Product ID | Description | Last Inv. Date | Init | Packs | Units/Pack | Qty. | Inv Date | Init | Packs | Units/Pack | Qty. | Notes