## Data
Test | EUA LOD (/3ml swab) | FDA Panel LOD (/3ml swab) | FDA/EUA LOD | DataNote | Developer | Full Test
PerkinElmer | 28 | 540 | 19.2857 | 1st data release | PerkinElmer, Inc. | PerkinElmer New Coronavirus Nucleic Acid Detection Kit
ScienCell | 9600 | 1620 | 0.16875 | 1st data release | ScienCell Research Laboratories | ScienCell SARS-CoV-2 Coronavirus Real-time RT-PCR (RT-qPCR) Detection Kit
BioCore | 1500 | 1800 | 1.2 | 1st data release | BioCore Co., Ltd. | BioCore 2019-nCoV Real Time PCR Kit
DiaCarta (4 1plex wells) | 600 | 1800 | 3 | 1st data release | DiaCarta, Inc | QuantiVirus SARS-CoV-2 Test kit | Results were obtained with the version of the test authorized on 4/08/2020
DiaCarta (duplex) | 300 | 1800 | 6 | 1st data release | DiaCarta, Inc | QuantiVirus SARS-CoV-2 Multiplex Test Kit
Hologic (Panther RTqPCR) | 600 | 1800 | 3 | 1st data release | Hologic, Inc. | Panther Fusion SARS-CoV-2 Assay
Hologic (TMA) | 638 | 1800 | 2.8213 | 1st data release | Hologic, Inc. | Aptima SARS-CoV-2 assay
Seasun (PCR) | 3000 | 1800 | 0.6 | 1st data release | SEASUN BIOMATERIALS | U-TOP COVID-19 Detection Kit
PrivaPath (letsgetchecked) | 600 | 2160 | 3.6 | 1st data release | PrivaPath Diagnostics, Inc.2 | LetsGetChecked Coronavirus (COVID-19) Test
BD Max (2 duplex) | 120 | 5400 | 45 | 1st data release | Becton, Dickinson & Company (BD) | BioGX SARS-CoV-2 Reagents for BD MAX System
CirrusDx | 1170 | 5400 | 4.6154 | 1st data release | CirrusDx Laboratories | CirrusDx SARS-CoV-2 Assay
EuroImmun | 450 | 5400 | 12 | 1st data release | Euroimmun US, Inc. | EURORealTime SARS-Cov-2
Helix (PCR) | 3000 | 5400 | 1.8 | 1st data release | Helix OpCo LLC (dba Helix) | Helix COVID-19 Test
LabGenomics | 60000 | 5400 | 0.09 | 1st data release | LabGenomics Co., Ltd. | LabGun COVID-19 RT-PCR Kit
Quest Diagnostics | 408 | 5400 | 13.2353 | 1st data release | Quest Diagnostics Infectious Disease, Inc. | Quest SARS-CoV-2 rRT-PCR
Rheonix | 1875 | 5400 | 2.88 | 1st data release | Rheonix, Inc. | Rheonix COVID-19 MDx Assay
Roche | 138 | 5400 | 39.1304 | 1st data release | Roche Molecular Systems, Inc. (RMS) | cobas SARS-CoV-2
Applied DNA | 3750 | 7500 | 2 | 1st data release | Applied DNA Sciences, Inc. | Linea COVID-19 Assay Kit
Abbott (m2000) | 120 | 8100 | 67.5 | 1st data release | Abbott Molecular | Abbott RealTime SARS-CoV-2 assay
Fulgent | 15000 | 10800 | 0.72 | 1st data release | Fulgent Therapeutics, LLC | Fulgent COVID-19 by RT-PCR Test
Enzo | 840 | 10800 | 12.8571 | 1st data release | Enzo Life Sciences, Inc. | AMPIPROBE SARS-CoV-2 Test System
Access Bio | 1286 | 16200 | 12.5972 | 1st data release | Access Bio, Inc. | CareStart COVID-19 MDx RT-PCR
Applied BioCode | 0.017 TCID50/ml | 16200 |  | 1st data release | Applied BioCode, Inc. | BioCode SARS-CoV-2 Assay
Assurance Sci. | 15000 | 16200 | 1.08 | 1st data release | Assurance Scientific Laboratories | Assurance SARS-CoV-2 Panel
BD Max (triplex) | 120 | 16200 | 135 | 1st data release | Becton, Dickinson & Company | BD SARS-CoV-2 Reagents for BD MAX System | Results were obtained with the version of the test authorized on 9/23/2020
BioFire Defense | 990 | 16200 | 16.3636 | 1st data release | BioFire Defense, LLC | BioFire COVID-19 Test
Boston Heart | 750 | 16200 | 21.6 | 1st data release | Boston Heart Diagnostics | Boston Heart COVID-19 RT-PCR Test
Cepheid | 750 | 16200 | 21.6 | 1st data release | Cepheid | Xpert Xpress SARS-CoV-2 test
ChromaCode | 3000 | 16200 | 5.4 | 1st data release | ChromaCode Inc. | HDPCR SARS-CoV-2 Assay
Ethos | 60000 | 16200 | 0.27 | 1st data release | Ethos Laboratories | Ethos Laboratories SARS-CoV-2 MALDI-TOF Assay
GeneMatrix | 7500 | 16200 | 2.16 | 1st data release | GeneMatrix, Inc | NeoPlex COVID-19 Detection Kit
Hackensack Uni MC | 12000 | 16200 | 1.35 | 1st data release | Hackensack University Medical Center (HUMC) Molecular Pathology Laboratory | CDI Enhanced COVID-19 Test
Kogene | 12000 | 16200 | 1.35 | 1st data release | KogeneBiotech Co., Ltd. | PowerChek 2019-nCoV Real-time PCR Kit
Luminex (NxTAG) | 15000 | 16200 | 1.08 | 1st data release | Luminex Molecular Diagnostics, Inc. | NxTAG CoV Extended Panel Assay
Patients Choice | 300000 | 16200 | 0.054 | 1st data release | Patients Choice Laboratories, LLC | PCL SARS-CoV-2 Real-Time RT-PCR Assay
CDC (inf+CoV2) | ? | 17100 |  | 1st data release | Centers for Disease Control and Prevention (CDC) | Influenza SARS-CoV-2 (Flu SC2) Multiplex Assay
DiaSorin | 1500 | 18000 | 12 | 1st data release | DiaSorin Molecular LLC | Simplexa COVID-19 Direct assay
Quidel | 2400 | 18000 | 7.5 | 1st data release | Quidel Corporation | Lyra SARS-CoV-2 Assay
Seasun (LAMP, 1 duplex) | 21000 | 18000 | 0.85714 | 1st data release | Seasun Biomaterials, Inc | AQ-TOP COVID-19 Rapid Detection Kit
Sherlock BioSci | 20250 | 18000 | 0.88889 | 1st data release | Sherlock BioSciences, Inc. | Sherlock CRISPR SARS-CoV-2 Kit
UNC | 2640 | 18000 | 6.8182 | 1st data release | University of North Carolina Medical Center | UNC Health SARS-CoV-2 real-time RT-PCR test
Exact Sciences | 7800 | 18075 | 2.3173 | 1st data release | Exact Sciences Laboratories | SARS-CoV-2 (N gene detection) Test
CDC | 9500 | 54000 | 5.6842 | 1st data release | Centers for Disease Control and Prevention (CDC) | CDC 2019-nCoV Real-Time RT-PCR Diagnostic Panel (CDC)
Acupath | 75000 | 54000 | 0.72 | 1st data release | Acupath Laboratories, Inc | Acupath COVID-19 Real-Time (RT-PCR) Assay
Avellino Lab USA | 165000 | 54000 | 0.32727 | 1st data release | Avellino Lab USA, Inc. | AvellinoCoV2 test
Color | 2250 | 54000 | 24 | 1st data release | Color Genomics, Inc.2 | Color Genomics SARS-CoV-2 RT-LAMP Diagnostic Assay | Results were obtained with the version of the test authorized on 8/28/2020
Eli Lilly | 3000 | 54000 | 18 | 1st data release | Eli Lilly and Company | Lilly SARS-CoV-2 Assay
Gravity (CDC Primers) | 7200 | 54000 | 7.5 | 1st data release | Gravity Diagnostics, LLC | Gravity Diagnostics COVID-19 Assay
HealthQuest | 60000 | 54000 | 0.9 | 1st data release | HealthQuest Esoterics | HealthQuest Esoterics TaqPath SARS-CoV-2 Assay
Boston CH | 6900 | 54000 | 7.8261 | 1st data release | Infectious Diseases Diagnostics Laboratory (IDDL), Boston Children's Hospital | Childrens-Altona-SARS-CoV-2 Assay
Psomagen | 3000 | 54000 | 18 | 1st data release | Psomagen, Inc. | Psoma COVID-19 RT Test
Yale | 6000 | 540000 | 90 | 1st data release | Diatherix Eurofins Laboratory | SARS-CoV-2 PCR Test
Luminex (Aries) | 999 | 540000 | 540.5405 | 1st data release | Luminex Corporation | ARIES SARS-CoV-2 Assay
Qiagen | 1500 | 540000 | 360 | 1st data release | QIAGEN GmbH | QIAstat-Dx Respiratory SARS-CoV-2 Panel
Abbott (ID Now) | 313 | 15000 | 47.9233 | 1st data release | Abbott Diagnostics Scarborough, Inc. | ID NOW COVID-19
Quidel (LyraDirect) | 5120 | 27000 | 5.2734 | 1st data release | Quidel Corporation | Lyra Direct SARS-CoV-2 Assay
Bio-Rad | 450 | 1800 | 4 | 2nd data release | Bio-Rad Laboratories, Inc | Bio-Rad SARS-CoV-2 ddPCR Test
Altru | 1875 | 5400 | 2.88 | 2nd data release | Altru Diagnostics, Inc. | Altru Dx SARS-CoV-2 RT-PCR assay
OPTI | 2700 | 5400 | 2 | 2nd data release | OPTI Medical Systems, Inc. | OPTI SARS-COV-2 RT PCR Test
Roche (infA/B+CoV2, Cobas) | 182 | 5400 | 29.6703 | 2nd data release | Roche Molecular Systems, Inc. | cobas SARS-CoV-2 & Influenza A/B
Illumina | 3000 | 16200 | 5.4 | 2nd data release | Illumina, Inc. | Illumina COVIDSeq Test
NeuMoDx | 450 | 16200 | 36 | 2nd data release | NeuMoDx Molecular, Inc. | NeuMoDx SARS-CoV-2 Assay
ZhuHai Sinochips | 7500 | 16200 | 2.16 | 2nd data release | ZhuHai Sinochips Bioscience Co., Ltd | COVID-19 Nucleic Acid RT-PCR Test Kit
Columbia Uni. | 840 | 18000 | 21.4286 | 2nd data release | Columbia University Laboratory of Personalized Genomic Medicine | TRIPLEX CII-SARS-CoV-2 rRT-PCR TEST
1drop | 600 | 54000 | 90 | 2nd data release | 1drop Inc. | 1copy COVID-19 qPCR Multi Kit
BioMérieux | 1140 | 54000 | 47.3684 | 2nd data release | BioMérieux SA | SARS-COV-2 R-GENE
Cedars-Sinai | 30000 | 54000 | 1.8 | 2nd data release | Cedars-Sinai Medical Center, Department of Pathology and Laboratory Medicine | SARS-CoV-2-Assay
Curative | 600 | 54000 | 90 | 2nd data release | KorvaLabs Inc. | Curative-Korva SARS-Cov-2 Assay
Phosphorus Dx | 15000 | 54000 | 3.6 | 2nd data release | Phosphorus Diagnostics LLC | Phosphorus COVID-19 RT-qPCR Test | 4
Ultimate Dx | 300 | 54000 | 180 | 2nd data release | Ultimate Dx Laboratory | UDX SARS-CoV-2 Molecular Assay
Ipsum | 25500 | 540000 | 21.1765 | 2nd data release | Ipsum Diagnostics, LLC | COV-19 IDx assay | Results were obtained with the version of the test authorized on 4/01/2020
Thermo Fisher | 750 | 540000 | 720 | 2nd data release | Thermo Fisher Scientific, Inc. | TaqPath COVID-19 Combo Kit
PreciGenome | 1714 | 540000 | 315.0525 | 2nd data release | PreciGenome LLC3 | FastPlex Triplex SARS-CoV-2 detection kit (RT-Digital PCR)
MicroGen DX | 300 | 540000 | 1800 | 2nd data release | Southwest Regional PCR Laboratory LLC. dba MicroGen DX | COVID-19 Key
SDI | 1500 | 540000 | 360 | 2nd data release | Specialty Diagnostic (SDI) Laboratories | SDI SARS-CoV-2 Assay
Boston Medical | 3000 | 1800000 | 600 | 2nd data release | Boston Medical Center | BMC-CReM COVID-19 Test
Viracor Eurofins | 219 | 540 | 2.4658 | 3rd data release | Viracor Eurofins Clinical Diagnostics | Viracor SARS-CoV-2 assay
Zymo | 750 | 1350 | 1.8 | 3rd data release | Zymo Research Corporation1 | Quick SARS-CoV-2rRT-PCR Kit
Fast Track | 0.0069 TCID50/ml | 1620 |  | 3rd data release | Fast Track Diagnostics Luxembourg S.á.r.l. (a Siemens Healthineers Company) | FTD SARS-COV-2
UMass | 12000 | 5400 | 0.45 | 3rd data release | UMass Memorial Medical Center | UMass Molecular Virology Laboratory 2019-nCoV rRT-PCR Dx Panel
Texas DSHS | 60 | 5400 | 90 | 3rd data release | Texas Department of State Health Services, Laboratory Services Section | Texas Department of State Health Services (DSHS) SARS-CoV-2 Assay
Nationwide CH | 94 | 5400 | 57.4468 | 3rd data release | Nationwide Children's Hospital | SARS-CoV-2 Assay (CH)
Maccura | 3000 | 5400 | 1.8 | 3rd data release | Maccura Biotechnology (USA) LLC | SARS-CoV-2 Fluorescent PCR Kit
Cormeum | 6000 | 5400 | 0.9 | 3rd data release | Cormeum Laboratory Services | Cormeum SARS-CoV-2 Assay
CSI Labs | 18750 | 5400 | 0.288 | 3rd data release | CSI Laboratories | CSI SARS-CoV-2 RT PCR Test
Biocollections | 3000 | 5400 | 1.8 | 3rd data release | Biocollections Worldwide, Inc. | Biocollections Worldwide SARS-Co-V-2 Assay
BayCare | 138 | 5400 | 39.1304 | 3rd data release | BayCare SARS-CoV-2 RT PCR Assay | BayCare SARS-CoV-2 RT PCR Assay
Tempus | 750 | 7200 | 9.6 | 3rd data release | Tempus Lab, Inc. | iC SARS-CoV2 Test
Gencurix | 18000 | 8100 | 0.45 | 3rd data release | Gencurix, Inc. | GenePro SARS-CoV-2 Test
BGI genomics | 450 | 9000 | 20 | 3rd data release | BGI Genomics Co. Ltd | Real-Time Fluorescent RT-PCR Kit for Detecting SARS-CoV-2
Guardant Health | 375 | 16200 | 43.2 | 3rd data release | Guardant Health, Inc.2 | Guardant-19
ClearDx | 6000 | 16200 | 2.7 | 3rd data release | Clear Labs, Inc. | Clear Dx SARS-CoV-2 Test
Sandia | 18750 | 16200 | 0.864 | 3rd data release | Sandia National Laboratories | SNL-NM 2019 nCoV Real-Time RT-PCR Diagnostic Assay
Roche (infA/B+CoV2, Liat) | 36 | 16200 | 450 | 3rd data release | Roche Molecular Systems, Inc. | cobas SARS-CoV-2 & Influenza A/B Nucleic Acid Test for use on the cobas Liat System
Optolane | 15000 | 16200 | 1.08 | 3rd data release | OPTOLANE Technologies, Inc. | Kaira 2019-nCoV Detection Kit
LumiraDx | 1500 | 16200 | 10.8 | 3rd data release | LumiraDx UK Ltd. | LumiraDx SARS-CoV-2 RNA STAR
BioSewoom | 18750 | 16200 | 0.864 | 3rd data release | BioSewoom, Inc. | Real-Q 2019-nCoV Detection Kit
InBios | 3300 | 18000 | 5.4545 | 3rd data release | InBios International, Inc. | Smart Detect SARS-CoV-2 rRT-PCR Kit
BioFire (RP) | 480 | 18000 | 37.5 | 3rd data release | BioFire Diagnostics, LLC | BioFire Respiratory Panel 2.1 (RP2.1)
Diagnostic Solutions | 10 | 54000 | 5400 | 3rd data release | Diagnostic Solutions Laboratory, LLC | DSL COVID-19 Assay
SolGent | 600 | 54000 | 90 | 3rd data release | SolGent Co., Ltd | DiaPlexQ Novel Coronavirus (2019-nCoV) Detection Kit
Miami Baptist | 6000 | 54000 | 9 | 3rd data release | Pathology/Laboratory Medicine Lab of Baptist Hospital Miami | COVID-19 RT-PCR Test (Miami)
Vela (v1, 2 duplex wells per sample) | 1680 | 54000 | 32.1429 | 3rd data release | Vela Operations Singapore Pte Ltd | ViroKey SARS-CoV-2 RT-PCR Test
MD Anderson | 15000 | 54000 | 3.6 | 3rd data release | University of Texas MD Anderson Cancer Center, Molecular Diagnostics Laboratory | MD Anderson High-throughput SARS-CoV-2 RT-PCR Assay
Stanford | 3000 | 54000 | 18 | 3rd data release | Stanford Health Care Clinical Virology Laboratory | Stanford SARS-CoV-2 assay
T2 Biosystems | 6000 | 54000 | 9 | 3rd data release | T2 Biosystems, Inc. | T2SARS-CoV-2 Panel
Gene By Gene | 18750 | 54000 | 2.88 | 3rd data release | Gene By Gene | Gene By Gene SARS-CoV-2 Detection Test
AIT Labs | 3000 | 54000 | 18 | 3rd data release | AIT Laboratories | SARS-CoV-2 Assay (AIT)
Gravity (ThermoPrimers) | 3000 | 54000 | 18 | 3rd data release | Gravity Diagnostics, LLC | Gravity Diagnostics SARS-CoV-2 RT-PCR Assay
Solaris | 30000 | 54000 | 1.8 | 3rd data release | Solaris Diagnostics | Solaris Multiplex SARS-CoV-2 Assay
Biomeme | 5400 | 54000 | 10 | 3rd data release | Biomeme, Inc. | Biomeme SARS-CoV-2 Real-Time RT-PCR Test
Visby | 3336 | 162000 | 48.5612 | 3rd data release | Visby Medical, Inc. | Visby Medical COVID-19
Primerdesign | 990 | 162000 | 163.6364 | 3rd data release | Primerdesign Ltd.3 | Primerdesign Ltd COVID-19 genesig Real-Time PCR assay
GenMark (Panel) | 750 | 540000 | 720 | 3rd data release | GenMark Diagnostics, Inc. | ePlex Respiratory Pathogen Panel 2
UTMG | 100 PFU | 540000 |  | 3rd data release | UTMG Pathology Laboratory2 | UTHSC/UCH SARS-CoV-2-RT-PCR Assay
Omnipathology | 3690 | 540000 | 146.3415 | 3rd data release | Omnipathology Solutions Medical Corporation | Omni COVID-19 Assay by RT-PCR
LCT | 609 | 540000 | 886.6995 | 3rd data release | Laboratorio Clinico Toledo | Laboratorio Clinico Toledo SARS-CoV-2 Assay
Express Gene | 2400 | 540000 | 225 | 3rd data release | Express Gene LLC, DBA: Express Gene Molecular Diagnostics Laboratory | Express Gene 2019-nCoV RT-PCR Diagnostic Panel
Alpha Genomix | 12000 | 540000 | 45 | 3rd data release | Alpha Genomix Laboratories3 | Alpha Genomix TaqPath SARS-CoV-2 Combo Assay
BioTNS | 11145 | 1620000 | 145.3567 | 3rd data release | TNS Co., Ltd (Bio TNS) | COVID-19 RT-PCR Peptide Nucleic Acid (PNA) kit
Cue Health | 40 | 3000 | 75 | 3rd data release | Cue Health Inc.a | Cue COVID-19 Test
Atila BioSystems | 3500 | 9000 | 2.5714 | 3rd data release | Atila BioSystems, Inc. | iAMP COVID-19 Detection Kit

## Chart
Scatter Plot showing EUA tests with EUA LOD on y axis and FDA Panel LOD on x axis
Above the line = Developer obtained worse LOD in original EUA than with FDA panel