## FloodLAMP Results
Results | [9 empty] | Column | Definition | Possible Entries
Sample # | Known Value | Sample Type | Sample Source | Known Value | Known Units | Result Value | Result Units | Result Interpretation | Notes | Sample # | Unique number for sample | Numeric (1-number of samples tested)
Numeric | Text | Text | Text | Numeric | Text | Numeric | Text | Text | Text | Known Value | SAR-CoV-2 sample status | Positive, Negative
[10 empty] | Known Value | If Clinical sample what is the result from the clinical test; If contrived what amount of virus is used in units of copies per uL | Numeric
Blinded real saliva samples, spiked with zeptometrix inactivated virions into raw sample before any processing | [9 empty] | Known Units | If Clinical sample what is the units from the clinical test; If contrived this must be copies/uL | Text (Ct, copies (of virus in reaction))
Run#39-1 | Negative | Real Unspiked | Saliva |  |  | Negative | Visual binary | Correct | As1e and N2 Primer Set Combo | Result Value | Sample up to 1 decimal point | Numeric
Run#39-2 | Negative | Real Unspiked | Saliva |  |  | Negative | Visual binary | Correct | As1e and N2 Primer Set Combo | Result Units | Units used for reporting | Text (Ct, fluorescence)
Run#39-3 | Positive | Real, Raw Zepto Spiked | Saliva | 5000 | virions/ml | Positive | Visual binary | Correct | As1e and N2 Primer Set Combo | Result Interpretation | Based off of this result would you declare this positive or negative | Positive, Negative
Run#39-4 | Negative | Real Unspiked | Saliva |  |  | Negative | Visual binary | Correct | As1e and N2 Primer Set Combo
Run#39-5 | Positive | Real, Raw Zepto Spiked | Saliva | 20000 | virions/ml | Positive | Visual binary | Correct | As1e and N2 Primer Set Combo
Run#39-6 | Negative | Real Unspiked | Saliva |  |  | Negative | Visual binary | Correct | As1e and N2 Primer Set Combo
Run#39-7 | Negative | Real Unspiked | Saliva |  |  | Negative | Visual binary | Correct | As1e and N2 Primer Set Combo
Run#39-8 | Positive | Real, Raw Zepto Spiked | Saliva | 10000 | virions/ml | Positive | Visual binary | Correct | As1e and N2 Primer Set Combo
Run#39-9 | Negative | Real Unspiked | Saliva |  |  | Negative | Visual binary | Correct | As1e and N2 Primer Set Combo
Run#39-10 | Negative | Real Unspiked | Saliva |  |  | Negative | Visual binary | Correct | As1e and N2 Primer Set Combo
Run#39-NTC | Negative | Control | PBS |  |  | Negative | Visual binary | Correct | As1e and N2 Primer Set Combo
Run#39-TWC | Positive | Contrived | Saliva | 2500 | copies (est) | Positive | Visual binary | Correct | As1e and N2 Primer Set Combo
Twist LOD run on 2ml volume of inactivated sample, Twist positive control RNA spiked after sample inactivation before purification, same results in duplicate
Run#37-8K | Positive | Contrived | Saliva | 4000 | copies (est) | Positive | Visual binary | At or above LOD | As1e and N2 Primer Set Combo
Run#37-4K | Positive | Contrived | Saliva | 2000 | copies (est) | Positive | Visual binary | At or above LOD | As1e and N2 Primer Set Combo
Run#37-2K | Positive | Contrived | Saliva | 1000 | copies (est) | Positive | Visual binary | At or above LOD | As1e and N2 Primer Set Combo
Run#37-1K | Positive | Contrived | Saliva | 500 | copies (est) | Negative | Visual binary | Below LOD | As1e and N2 Primer Set Combo
Run#37-0 | Negative | Control | Saliva | 0 |  | Negative | Visual binary | Correct | As1e and N2 Primer Set Combo
Run#37-0 | Positive | Control (Internal RNAseP) | Saliva | HIGH |  | Positive | Visual binary | Correct | RNAseP Primers
Run#37-NTC | Negative | Control | PBS | 0 |  | Negative | Visual binary | Correct | As1e and N2 Primer Set Combo
Run#37-NTC | Negative | Control (Internal RNAseP) | PBS | 0 |  | Negative | Visual binary | Correct | RNAseP Primers
Real Sample run on individual for a screen, 2 nasal samples split and 25K zeptos spiked into 2.5ml
Run#86-1A | ? | Real | Nasal |  |  | Negative | Visual binary | No Finding of Potential Clinical Significance | As1e and N2 Primer Set Combo
Run#86-1B | Positive | Real, Raw Zepto Spiked | Nasal | 10000 | virions/ml | Positive | Visual binary | Correct | As1e and N2 Primer Set Combo
Run#86-2A | Negative | Real | Nasal |  |  | Negative | Visual binary | No Finding of Potential Clinical Significance | As1e and N2 Primer Set Combo
Run#86-2B | Positive | Real, Raw Zepto Spiked | Nasal | 10000 | virions/ml | Positive | Visual binary | Correct | As1e and N2 Primer Set Combo
Run#86-3 | Negative | Real | Nasal |  |  | Negative | Visual binary | No Finding of Potential Clinical Significance | As1e and N2 Primer Set Combo
Run#86-4 | Negative | Real | Nasal |  |  | Negative | Visual binary | No Finding of Potential Clinical Significance | As1e and N2 Primer Set Combo
Run#86-5 | ? | Real | Saliva |  |  | Negative | Visual binary | No Finding of Potential Clinical Significance | As1e and N2 Primer Set Combo
Run#86-NTC | Negative | Control | PBS |  |  | Negative | Visual binary | Correct | As1e and N2 Primer Set Combo
These are a few example runs, we have done over 100 runs in the last 2 months, 1000+ LAMP reactions
Many have been chacterization and troubleshooting runs, as we've moved labs 3 times
We now have great exclusive use lab space at MBC Biolabs with:
a dedicated room with 2 biosafety cabinets where we will run the silica purification on inactivated samples
4 lab benches where we'll install 2 PCR hood for setting up LAMP reactions
1 5' chemical fume hood for preparing stock solutions invloving acids and bases (Inactivation Solution, Binding Solution and Glass Milk)
We have access to a GloMAX plate reader and ABI Quanstudio7 qPCR machine which we intend to use for comparison and characterization, and perhaps as part of our screening service offering
We have done many successful runs spiking Zeptometrix virions into raw samples at 1e4/ml level.
The challenge is not getting good results on one run, but setting up a system to run continously under control, especially eliminating failures due to contamination.
We've moved to single use RNA controls, and aliquoting of many components in specific volumes in preparation for pilot runs.