{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":20,"n_cols":5,"rows_kept":20,"cut":false,"hidden":false,"merged":[]}
["Kragten method"]
["https://doi.org/10.1039/an9941902161"]
[]
["This macro combines standard uncertainties by the Kragten method. "]
[]
["The model function must be in the cell below the last input variable. Degrees of freedom input is optional."]
["This macro can be executed over another workbook."]
["NB! Results may overwrite your cells. Please, choose the results cell (last step) carefully."]
[]
["Input variable Label","Unit (not processed)","Value of input variable","Standard uncertainty","Degrees of freedom"]
["X1","mg/L",1000,0.24,5]
["X2",null,10,0.1,10]
["X3",null,20,0.2,20]
["…",null,30,0.3,30]
["Xn",null,40,0.4,40]
[null,"Y=f(Xi)",{"$f":"(C11-C15)*C12/C13-C14","v":450}]
[]
[]
[]
[" @leosotojacome 2022"]