## DICOM-MRI
donor_id | organ_id | lab_id | preparation_protocol_doi | study_date | modality | image_type | series_description | series_notes | imaging_instrument_vendor | imaging_instrument_model | contributors_path | data_path | image_width_value | image_width_unit | image_height_value | image_height_unit | roi_description | roi_id | pixel_physical_size_width_value | pixel_physical_size_width_unit | pixel_physical_size_height_value | pixel_physical_size_height_unit | images_in_acquisition | imaging_frequency_value | imaging_frequency_unit | receive_coil_name | magnetic_field_strength_value | scanning_sequence | sequence_variant | echo_time_value | repetition_time_value | flip_angle | echo_train_length | acquisition_matrix_size | pixel_physical_size_depth_value | pixel_physical_size_depth_unit | spacing_between_slices_value | spacing_between_slices_unit | image_row_count | image_column_count | number_of_averages | metadata_schema_id
f8c76a33-6262-4733-8f00-23175af7fd73
Note on A1: (Required) The HuBMAP ID assigned to the organ donor. Example: HBM978.PZJF.734
Note on B1: (Required) The unique identifier from HuBMAP or SenNet assigned to an organ. Example: HBM811.ORKO.128
Note on C1: A locally assigned identifier provided by the data provider for the dataset. It is used to reference an external metadata record that may be maintained independently, enabling traceability and supporting provenance tracking. Example: Visium_9OLC_A4_S1
Note on D1: (Required) The DOI for the protocols.io page that details the assay or the procedures used for sample procurement and preparation. For example, in the case of an imaging assay, the protocol may start with tissue section staining and end with the generation of an OME-TIFF file. The documented protocol should also include any image processing steps involved in producing the final OME-TIFF. Example: https://dx.doi.org/10.17504/protocols.io.eq2lyno9qvx9/v1
Note on E1: (Required) The date the image was taken. Example: 2026-04-10
Note on F1: (Required) The imaging modality used to capture the image. Example: Magnetic Resonance
Note on G1: (Required) The descriptor of an image. Example: T2 weighted
Note on H1: (Required) The technical description of the image series. Example: T1-weighted axial pre-contrast brain MRI
Note on I1: (Required) Site notes regarding the image series. Example: Minor RF interference noted; image quality slightly degraded.
Note on J1: (Required) The manufacturer name of the instrument that produced the images. Example: GE Healthcare
Note on K1: (Required) Manufacturers may offer various versions (models) of the imaging instrument with different features or sensitivities. Differences in features or sensitivities may be relevant to processing or interpretation of the data. Example: Discovery MR750
Note on L1: (Required) The name of the file containing the ORCID IDs for all contributors to this dataset. Example: ./contributors.csv
Note on M1: (Required) The top-level directory containing the raw and/or processed data. For a single dataset upload, this might be represented as ".", whereas for a data upload containing multiple datasets, this would be the directory name for the respective dataset. This is an internal metadata field used solely for data ingestion. Example: ./TEST001-RK
Note on N1: (Required) The width of the acquired region of interest (ROI) in the image, expressed in physical units (e.g., millimeters), representing the horizontal extent of the captured area. Example: 100
Note on O1: (Required) The unit of measurement for the image width value. Example: mm
Note on P1: (Required) The height of the acquired region of interest (ROI) in the image, expressed in physical units (e.g., millimeters), representing the vertical extent of the captured area. Example: 100
Note on Q1: (Required) The unit of measurement for the image height value. Example: mm
Note on R1: (Required) A description of the anatomical structure being captured in the region of interest (ROI).
Note on S1: Multiple images are acquired from regions of interest (ROI1, ROI2, ROI3, etc) on a slide. The ROI ID is a number from 1 to N representing the ROI captured on a slide. Example: ROI1
Note on T1: (Required) The physical width of a single pixel in the image. Example: 1000
Note on U1: (Required) The unit of measurement for the pixel physical size width value. Example: um
Note on V1: (Required) The physical height of a single pixel in the image. Example: 1000
Note on W1: (Required) The unit of measurement for the pixel physical size height value. Example: um
Note on X1: (Required) The total number of images in the dataset. Example: 12
Note on Y1: (Required) The operating radio frequency of the imaging device during image acquisition. Example: 63.86
Note on Z1: (Required) The unit of measurement for imaging frequency value. Example: MHz
Note on AA1: (Required) The name or type of the receive coil used to detect and collect the MRI signal during image acquisition. Example: 16Body Full
Note on AB1: (Required) The strength of the static magnetic field generated by the MRI scanner during image acquisition, expressed in Tesla (T). Example 1.5
Note on AC1: (Required) The type of pulse sequence used by the imaging system to acquire the data, defining how signals are generated and measured. Example: SE
Note on AD1: (Required) Standardized indicators that describe specific modifications or characteristics of the base scanning sequence (e.g., segmented k-space, steady state, magnetization prepared), providing additional detail on how the data were acquired. Example: SK
Note on AE1: (Required) The time interval, in milliseconds (ms), between the center of the excitation pulse and the peak of the resulting echo signal. For segmented k-space acquisitions, this refers to the effective echo time (TE), defined as the time to the echo that samples the center of k-space. Example: 80
Note on AF1: (Required) The period of time in msec between the beginning of a pulse sequence and the beginning of the succeeding (essentially identical) pulse sequence. Example: 800
Note on AG1: (Required) Steady state angle in degrees to which the magnetic vector is flipped from the magnetic vector of the primary field. Example: 90
Note on AH1: (Required) Number of lines in k-space acquired per excitation per image. Example: 16
Note on AI1: (Required) The dimensions of the acquired data matrix, representing the number of samples collected in the frequency (readout) and phase encoding directions prior to image reconstruction. Specified as a four-element: [frequency rows, frequency columns, phase rows, phase columns]. Example: [256, 0, 0, 192]
Note on AJ1: (Required) The physical depth of a single pixel in the image. Example: 10
Note on AK1: (Required) The unit of measurement for the pixel physical size depth value. If the pixel depth value is not specified, this field may be left blank. Example: um
Note on AL1: (Required) The distance between the centers of adjacent image slices, representing the spacing along the slice (z) direction during acquisition. Example: 3
Note on AM1: (Required) The unit of measurement for spacing between slices value. Example: mm
Note on AN1: (Required) Number of rows of the reconstructed data, per image. Example: 100
Note on AO1: (Required) Number of columns of the reconstructed data, per image. Example: 100
Note on AP1: (Required) The number of times a pulse sequence is repeated under identical conditions before any acquisition parameters are changed, with the results averaged to form the final image or volume. Example: 1
Note on AQ1: (Required) The unique string identifier for the metadata specification version, which is easily interpretable by computers for purposes of data validation and processing. Example: 95b3a9bd-3fb3-48f5-99f8-1f78ffb6bb1d

## modality
Magnetic Resonance | http://dicom.nema.org/resources/ontology/DCM/MR

## imaging_instrument_vendor
GE Healthcare | https://identifiers.org/RRID:SCR_025461

## imaging_instrument_model
Discovery MR750 | https://identifiers.org/RRID:SCR_025460

## image_width_unit
mm | http://purl.obolibrary.org/obo/UO_0000016
um | http://purl.obolibrary.org/obo/UO_0000017

## image_height_unit
mm | http://purl.obolibrary.org/obo/UO_0000016
um | http://purl.obolibrary.org/obo/UO_0000017

## pixel_physical_size_width_unit
mm | http://purl.obolibrary.org/obo/UO_0000016
um | http://purl.obolibrary.org/obo/UO_0000017
nm | http://purl.obolibrary.org/obo/UO_0000018

## pixel_physical_size_height_unit
mm | http://purl.obolibrary.org/obo/UO_0000016
um | http://purl.obolibrary.org/obo/UO_0000017
nm | http://purl.obolibrary.org/obo/UO_0000018

## imaging_frequency_unit
Hz | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C42545
kHz | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C67279
MHz | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C67314

## pixel_physical_size_depth_unit
mm | http://purl.obolibrary.org/obo/UO_0000016
um | http://purl.obolibrary.org/obo/UO_0000017
nm | http://purl.obolibrary.org/obo/UO_0000018

## spacing_between_slices_unit
mm | http://purl.obolibrary.org/obo/UO_0000016
um | http://purl.obolibrary.org/obo/UO_0000017
nm | http://purl.obolibrary.org/obo/UO_0000018

## .metadata
schema:title | pav:version | pav:createdOn | pav:derivedFrom
DICOM-MRI | 2.0.0 | 2026-04-28T09:47:34-07:00 | https://repo.metadatacenter.org/templates/f8c76a33-6262-4733-8f00-23175af7fd73