## Second Harmonic Generation
parent_sample_id | lab_id | preparation_protocol_doi | dataset_type | analyte_class | is_targeted | acquisition_instrument_vendor | acquisition_instrument_model | source_storage_duration_value | source_storage_duration_unit | time_since_acquisition_instrument_calibration_value | time_since_acquisition_instrument_calibration_unit | contributors_path | data_path | antibodies_path | is_image_preprocessing_required | slide_id | tile_configuration | scan_direction | tiled_image_columns | tiled_image_count | intended_tile_overlap_percentage | metadata_schema_id
|  |  | Second Harmonic Generation (SHG) | [18 empty] | e75faf85-125a-403e-80ee-21d4e7d80edc
Note on A1: (Required) The unique identifier from HuBMAP or SenNet for the sample (such as a block, section, or suspension) used to perform the assay. For instance, in an RNAseq assay, the parent sample would be the suspension, while in imaging assays, it would be the tissue section. If the assay is derived from multiple parent samples, this field should contain a comma-separated list of identifiers. Example: HBM386.ZGKG.235, HBM672.MKPK.442
Note on B1: A locally assigned identifier provided by the data provider for the dataset. It is used to reference an external metadata record that may be maintained independently, enabling traceability and supporting provenance tracking. Example: Visium_9OLC_A4_S1
Note on C1: (Required) The DOI for the protocols.io page that details the assay or the procedures used for sample procurement and preparation. For example, in the case of an imaging assay, the protocol may start with tissue section staining and end with the generation of an OME-TIFF file. The documented protocol should also include any image processing steps involved in producing the final OME-TIFF. Example: https://dx.doi.org/10.17504/protocols.io.eq2lyno9qvx9/v1
Note on D1: (Required) The specific type of dataset being produced. Example: RNAseq
Note on E1: (Required) The analyte class which is the target molecule that the assay is measuring. Example: DNA
Note on F1: (Required) Indicates whether a specific molecule or set of molecules is targeted for detection or measurement by the assay. Example: Yes
Note on G1: (Required) The company that manufactures or supplies the acquisition instrument. An acquisition instrument is a device equipped with signal detection hardware and signal processing software. It captures signals produced by assays, such as variations in light intensity or color, or signals corresponding to molecular mass. If the instrument was custom-built or developed internally, enter "In-House". Example: Illumina
Note on H1: (Required) The specific model of the acquisition instrument, as manufacturers often offer various versions with differing features or sensitivities. These differences may be relevant to the processing or interpretation of the data. If the instrument was custom-built or developed internally, enter "In-House". If the model is unknown, enter "Unknown". Example: HiSeq 4000
Note on I1: (Required) The length of time the sample was stored prior to processing it. For assays performed on tissue sections, this refers to how long the tissue section (e.g., slide) was stored before the assay began (e.g., imaging). For assays performed on suspensions, such as sequencing, it refers to how long the suspension was stored before library construction started. Example: 12
Note on J1: (Required) The unit of measurement used to specify the source storage duration value. Example: hour
Note on K1: The length of time since the acquisition instrument was last serviced or calibrated. This provides a metric for assessing drift in data capture. Example: 10
Note on L1: The unit of measurement used to specify the time since acquisition instrument calibration value. Example: month
Note on M1: (Required) The name of the file containing the ORCID IDs for all contributors to this dataset. Example: ./contributors.csv
Note on N1: (Required) The top-level directory containing the raw and/or processed data. For a single dataset upload, this might be represented as ".", whereas for a data upload containing multiple datasets, this would be the directory name for the respective dataset. For example, if the data is within a directory named "TEST001-RK", use the syntax "./TEST001-RK" for this field. If there are multiple directory levels, use the format "./TEST001-RK/Run1/Pass2", where "Pass2" is the subdirectory where the single dataset's data is stored. This is an internal metadata field used solely for data ingestion. Example: ./TEST001-RK
Note on O1: (Required) The path to the antibodies.tsv file relative to the root directory of the upload structure. This path should start with "." and is typically formatted as "./extras/antibodies.tsv". Example: ./extras/antibodies.tsv
Note on P1: Indicates whether image preprocessing is necessary based on the type of acquisition instrument used, such as a microscope or slide scanner. This may involve steps like fusing image tiles to assemble the complete image. Example: Yes
Note on Q1: The unique identifier assigned to each slide, enabling users to determine which tissue sections were processed together on the same slide. It is recommended that data providers prefix the ID with the center name to prevent overlapping values across different centers. Example: VAN0071-PA-1-1_AF
Note on R1: The configuration of tiles used for stitching in the assay process. If no tile configuration is applicable, enter "Not applicable". Example: Row-by-row
Note on S1: The direction of imaging, which is necessary for the stitching process. Example: Left-and-down
Note on T1: The number of columns used in the stitching process of a tiled image, often referred to as the grid size in the x-dimension. Example: 5
Note on U1: The total number of raw tiled images captured, which are intended to be stitched together. Example: 75
Note on V1: The intended percentage of overlap between tiled images. This value serves as the set point, although slight variations may occur during image acquisition due to stage registration. Example: 5
Note on W1: (Required) The unique string identifier for the metadata specification version, which is easily interpretable by computers for purposes of data validation and processing. Example: 22bc762a-5020-419d-b170-24253ed9e8d9

## dataset_type
HiFi-Slide | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000195
SNARE-seq2 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000264
COMET | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000458
Visium (no probes) | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000302
DESI | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000204
Confocal | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000206
Stereo-seq | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000385
Visium (with probes) | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000303
Molecular Cartography | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000217
Virtual Histology | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000473
DBiT-seq | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000428
Seq-Scope | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000390
CosMx Transcriptomics | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000218
CyCIF | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000200
Light Sheet | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000168
seqFISH | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000397
ATACseq | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000309
CosMx Proteomics | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000435
Singular Genomics G4X | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000429
Visium HD | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000451
MERFISH | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000221
10X Multiome | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000215
4i | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000447
PhenoCycler | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000199
Second Harmonic Generation (SHG) | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000208
Thick section Multiphoton MxIF | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000207
CyTOF | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000407
Olink | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000441
MIBI | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000172
Auto-fluorescence | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000205
FACS | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000440
Xenium | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000219
SIMS | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000202
Cell DIVE | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000159
CODEX | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000160
GeoMx (NGS) | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000300
MUSIC | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000328
Pixel-seqV2 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000450
MALDI | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000201
2D Imaging Mass Cytometry | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000296
Histology | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000197
Enhanced Stimulated Raman Spectroscopy (SRS) | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000209
DART-FISH | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000396
Resolve | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000384
RNAseq | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000310
LC-MS | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000194
nanoSPLITS | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000312
GeoMx (nCounter) | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000301
RNAseq (with probes) | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000311
MS Lipidomics | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000405
MPLEx | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000448

## analyte_class
DNA + RNA | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000327
Nucleic acid + protein | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000273
Chromatin | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C13201
RNA + protein | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000474
RNA | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C812
Metabolite | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C61154
Unsaturated lipid | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000389
Lipid + metabolite | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000401
Saturated lipid | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000388
Lipid | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C616
Protein | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C17021
Fluorochrome | http://purl.obolibrary.org/obo/CHEBI_51217
Collagen | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C16447
DNA | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C449
Peptide | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C735
Polysaccharide | http://purl.obolibrary.org/obo/CHEBI_18154
Endogenous fluorophore | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000131

## is_targeted
Yes
No

## acquisition_instrument_vendor
BGI Genomics | https://identifiers.org/RRID:SCR_024848
Cytiva | https://identifiers.org/RRID:SCR_023581
Thermo Fisher Scientific | https://identifiers.org/RRID:SCR_008452
Zeiss Microscopy | https://identifiers.org/RRID:SCR_023607
Complete Genomics | https://identifiers.org/RRID:SCR_027007
3DHISTECH | https://identifiers.org/RRID:SCR_027042
GE Healthcare | https://identifiers.org/RRID:SCR_025461
Leica Microsystems | https://identifiers.org/RRID:SCR_008960
Akoya Biosciences | https://identifiers.org/RRID:SCR_023774
NanoString | https://identifiers.org/RRID:SCR_023912
Element Biosciences | https://identifiers.org/RRID:SCR_026453
Andor | https://identifiers.org/RRID:SCR_023609
Huron Digital Pathology | https://identifiers.org/RRID:SCR_024996
Illumina | https://identifiers.org/RRID:SCR_010233
Ionpath | https://identifiers.org/RRID:SCR_023605
In-House | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C126386
Resolve Biosciences | https://identifiers.org/RRID:SCR_023911
Singular Genomics | https://identifiers.org/RRID:SCR_026683
Vizgen | https://identifiers.org/RRID:SCR_026274
Standard BioTools (Fluidigm) | https://identifiers.org/RRID:SCR_023606
Sciex | https://identifiers.org/RRID:SCR_023651
Bruker | https://identifiers.org/RRID:SCR_017365
Evident Scientific (Olympus) | https://identifiers.org/RRID:SCR_024782
Keyence | https://identifiers.org/RRID:SCR_023604
Leica Biosystems | https://identifiers.org/RRID:SCR_023603
Cytek Biosciences | https://identifiers.org/RRID:SCR_027071
10x Genomics | https://identifiers.org/RRID:SCR_023672
Microscopes International | https://identifiers.org/RRID:SCR_027094
Hamamatsu | https://identifiers.org/RRID:SCR_017105
Motic | https://identifiers.org/RRID:SCR_024856

## acquisition_instrument_model
SCN400 | https://identifiers.org/RRID:SCR_023611
STELLARIS 5 | https://identifiers.org/RRID:SCR_024663
BZ-X710 | https://identifiers.org/RRID:SCR_017202
Pannoramic MIDI II Digital Scanner | https://identifiers.org/RRID:SCR_024834
Not applicable | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C48660
MoticEasyScan One | https://identifiers.org/RRID:SCR_024855
EVOS M7000 | https://identifiers.org/RRID:SCR_025070
NovaSeq X | https://identifiers.org/RRID:SCR_024569
NanoZoomer 2.0-HT | https://identifiers.org/RRID:SCR_021658
timsTOF Ultra 2 | https://identifiers.org/RRID:SCR_026541
Lightsheet 7 | https://identifiers.org/RRID:SCR_024448
Phenocycler-Fusion 1.0 | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000316
DNBSEQ-T7 | https://identifiers.org/RRID:SCR_024847
timsTOF Pro | https://identifiers.org/RRID:SCR_026544
Unknown | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C17998
AVITI | https://identifiers.org/RRID:SCR_026452
timsTOF Pro 2 | https://identifiers.org/RRID:SCR_026545
Q Exactive UHMR | https://identifiers.org/RRID:SCR_020571
Q Exactive | https://identifiers.org/RRID:SCR_020565
timsTOF SCP | https://identifiers.org/RRID:SCR_026542
Zyla 4.2 sCMOS | https://identifiers.org/RRID:SCR_023610
Helios | https://identifiers.org/RRID:SCR_019916
uScopeHXII-20 | https://identifiers.org/RRID:SCR_027101
Custom: Multiphoton | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000317
QTRAP 5500 | https://identifiers.org/RRID:SCR_020517
timsTOF Ultra | https://identifiers.org/RRID:SCR_026540
BZ-X800 | https://identifiers.org/RRID:SCR_023617
CyTOF 2 | https://identifiers.org/RRID:SCR_026551
G4X Spatial Sequencer | https://identifiers.org/RRID:SCR_026684
NextSeq 500 | https://identifiers.org/RRID:SCR_014983
NanoZoomer S360 | https://identifiers.org/RRID:SCR_023761
Hyperion Imaging System | https://identifiers.org/RRID:SCR_023195
NovaSeq X Plus | https://identifiers.org/RRID:SCR_024568
CyTOF XT | https://identifiers.org/RRID:SCR_026344
NanoZoomer-SQ | https://identifiers.org/RRID:SCR_023763
NextSeq 550 | https://identifiers.org/RRID:SCR_016381
Axio Zoom.V16 | https://identifiers.org/RRID:SCR_027090
Digital Spatial Profiler | https://identifiers.org/RRID:SCR_021660
timsTOF FleX | https://identifiers.org/RRID:SCR_026925
timsTOF FleX MALDI-2 | https://identifiers.org/RRID:SCR_023615
NanoZoomer S210 | https://identifiers.org/RRID:SCR_023760
BZ-X810 | https://identifiers.org/RRID:SCR_025160
Axio Observer 7 | https://identifiers.org/RRID:SCR_023694
Cytek Northern Lights | https://identifiers.org/RRID:SCR_027072
IN Cell Analyzer 2200 | https://identifiers.org/RRID:SCR_023616
timsTOF HT | https://identifiers.org/RRID:SCR_026543
PhenoImager Fusion | https://identifiers.org/RRID:SCR_023274
DM6 B | https://identifiers.org/RRID:SCR_024857
Phenocycler-Fusion 2.0 | https://identifiers.org/RRID:SCR_023773
Aperio CS2 | https://identifiers.org/RRID:SCR_025111
Orbitrap Fusion Lumos Tribrid | https://identifiers.org/RRID:SCR_020562
Resolve Biosciences Molecular Cartography | https://identifiers.org/RRID:SCR_024449
MALDI timsTOF Flex Prototype | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000433
TissueScope LE Slide Scanner | https://identifiers.org/RRID:SCR_024995
VS200 Slide Scanner | https://identifiers.org/RRID:SCR_024783
Axio Observer 5 | https://identifiers.org/RRID:SCR_023692
Axio Observer 3 | https://identifiers.org/RRID:SCR_023693
HiSeq 2500 | https://identifiers.org/RRID:SCR_016383
Orbitrap Eclipse Tribrid | https://identifiers.org/RRID:SCR_023618
Cell DIVE | https://identifiers.org/RRID:SCR_027323
MERSCOPE | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000404
NextSeq 2000 | https://identifiers.org/RRID:SCR_023614
NovaSeq 6000 | https://identifiers.org/RRID:SCR_016387
In-House | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C126386
HiSeq 4000 | https://identifiers.org/RRID:SCR_016386
solariX | https://identifiers.org/RRID:SCR_027095
Panoramic 150 Digital Scanner | https://identifiers.org/RRID:SCR_027467
Aperio AT2 | https://identifiers.org/RRID:SCR_021256
MIBIscope | https://identifiers.org/RRID:SCR_023613
Biomark HD | https://identifiers.org/RRID:SCR_022658
NanoZoomer S60 | https://identifiers.org/RRID:SCR_023762
CosMx Spatial Molecular Imager | https://identifiers.org/RRID:SCR_023909
MERSCOPE Ultra | https://identifiers.org/RRID:SCR_026273
Axio Scan.Z1 | https://identifiers.org/RRID:SCR_020927
Juno System | https://identifiers.org/RRID:SCR_027198
Q Exactive HF | https://identifiers.org/RRID:SCR_020558
Xenium Analyzer | https://identifiers.org/RRID:SCR_023910

## source_storage_duration_unit
hour | http://purl.obolibrary.org/obo/UO_0000032
month | http://purl.obolibrary.org/obo/UO_0000035
year | http://purl.obolibrary.org/obo/UO_0000036
day | http://purl.obolibrary.org/obo/UO_0000033
minute | http://purl.obolibrary.org/obo/UO_0000031

## time_since_acquisition_instrume
month | http://purl.obolibrary.org/obo/UO_0000035
year | http://purl.obolibrary.org/obo/UO_0000036
day | http://purl.obolibrary.org/obo/UO_0000033

## is_image_preprocessing_required
Yes
No

## tile_configuration
Not applicable | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C48660
Row-by-row | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000138
Column-by-column | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000133
Snake-by-rows | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000122
Snake-by-columns | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000110

## scan_direction
Left-and-up | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000111
Right-and-up | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000141
Not applicable | http://ncicb.nci.nih.gov/xml/owl/EVS/Thesaurus.owl#C48660
Left-and-down | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000108
Right-and-down | https://purl.humanatlas.io/vocab/hravs#HRAVS_0000137

## .metadata
schema:title | pav:version | pav:createdOn | pav:derivedFrom
Second Harmonic Generation | 2.1.0 | 2025-11-20T09:36:58-08:00 | https://repo.metadatacenter.org/templates/e75faf85-125a-403e-80ee-21d4e7d80edc