## Methods
For more information please see sources.
CZO | MethodCode | Method Description
ERCZO | 0 | ICP-MS Control – Isco bottle, samples were filtered in the lab using 0.45 μm pore-size filter
ERCZO | 1 | ICP-MS Control - Isco plastic bag, samples were filtered in the lab using 0.45 μm pore-size filter
ERCZO | 2 | ICP-MS Prototype* 1 – 0.45 μm pore-size filter
ERCZO | 7 | ICP-MS Gravitational filtration system using 0.45 μm pore-size filter
ERCZO | 9 | ICP-MS Reference samples –standard method; immediately filtered (0.45 μm pore-size filter) and acidified
LCZO | 10 | pH - Electrometric with combination electrode Conductivity - Conductivity bridge Cl - up to 1989 by automated colorimetric analysis (thiocyanate); after 1989 by liquid chromatography with conductivity detection NO3-N - up to 1989 by automated colorimetric analysis (Cd-Cu reduction); after 1989 by liquid chromatography with UV or conductivity detection SO4-S - Liquid chromatography, conductivity detection Na, K, Mg, and Ca - up to 1994 by atomic absorption spectroscopy; after 1994 by ion chromatography with conductivity detection NH4-N - automated colorimetric analysis (phenolhypochlorite) PO4-P - automated colorimetric analysis (molybdate blue) DOC - up to 1998 by persulfate oxidation (McDowell et al. 1987); after 1998 by high temperature catalytic oxidation TDN - prior to 1998 by persulfate oxidation and automated colorimetric analysis; after 1998 by high temperature catalytic oxidation with chemiluminescent detection TDP - by persulfate digestion followed by automated colorimetric analysis SiO2 - automated colorimetric analysis (molybdate blue)
SSHCZO | 11 | Temperature YSI Multiparameter Probe pH YSI Multiparameter Probe DO (%) YSI Multiparameter Probe Dissolved Oxygen YSI Multiparameter Probe Specific Conductivity YSI Multiparameter Probe Alkalinity Two end-point titration Cl IC Dionex 2500 Ion Chromatograph SO4 IC Dionex 2500 Ion Chromatograph NO3 IC Dionex 2500 Ion Chromatograph Al ICP-AES Perkin-Elmer Optima 5300DV ICP-AES Ca ICP-AES Perkin-Elmer Optima 5300DV ICP-AES Fe ICP-AES Perkin-Elmer Optima 5300DV ICP-AES K ICP-AES Perkin-Elmer Optima 5300DV ICP-AES Mg ICP-AES Perkin-Elmer Optima 5300DV ICP-AES Mn ICP-AES Perkin-Elmer Optima 5300DV ICP-AES Na ICP-AES Perkin-Elmer Optima 5300DV ICP-AES Si ICP-AES Perkin-Elmer Optima 5300DV ICP-AES Sr ICP-AES Perkin-Elmer Optima 5300DV ICP-AES DOC DOC Shimadzu 5000A TOC-Analyzer
BCCZO | 12 | Measurement detection limits and precision as of March, 2011: Test/Solute Equipment Detection Limit Within-Run Precision Calcium (Ca++) Perkin Elmer AAnalyst 200 0.38 ueq/L 0.29 %RSD Magnesium (Mg++) Perkin Elmer AAnalyst 200 0.18 ueq/L 0.40 %RSD Sodium (Na+) Perkin Elmer AAnalyst 200 0.13 ueq/L 0.57 %RSD Potassium (K+) Perkin Elmer AAnalyst 200 0.09 ueq/L 0.90 %RSD Ammonium (NH4+) BioTek Synergy 2 0.63 ueq/L 1.79 %RSD Chloride (Cl-) Metrohm 761 Compact IC 0.23 ueq/L 1.09 %RSD Nitrate (NO3-) Metrohm 761 Compact IC 0.09 ueq/L 1.15 %RSD Sulfate (SO4--) Metrohm 761 Compact IC 0.56 ueq/L 1.26 %RSD Ortho-Phosphate (PO4---) Lachat QC 8000 FIA 0.06 ueq/L 2.04 %RSD Silica OI Analytical FS-IV 0.12 ueq/L 0.85 %RSD Total Dissolved Nitrogen Shimzadzu TOC-V CSN 1.02 ueq/L 2.01 %RSD Total Dissolved Phosphorus Lachat QC 8000 FIA 0.03 ueq/L 1.71 %RSD Delta 18O Picarro L1102-i 0.028 1 sigma Delta Deuterium Picarro L1102-i 0.148 1 sigma Non-Purgeable Organic Carbon (NPOC) Shimzadzu TOC-V CSN 0.07 mg/L 1.34 %RSD Note: columns for acidity, alkalinity, and tritium are present in the data set for consistency with other stream water chemistry data sets. Measurements for these variables were not performed for this data set.
SSCZO | 13
CJCZO | 14 | PH_EC1 Surface Water Lab Hydrology and Water Resources University of Arizona Field probe measurement Field probe measurement PH_EC2 Surface Water Lab Hydrology and Water Resources University of Arizona Lab probe measurement Lab probe measurement OxyTem Surface Water Lab Hydrology and Water Resources University of Arizona Oxygen and temperature probe Oxygen and temperature probe ThermoQuest Surface Water Lab Hydrology and Water Resources University of Arizona Continuous-flow gas ratio mass spectrometer ThermoQuest Finnigan Delta Plus XL WIA_LGR Surface Water Lab Hydrology and Water Resources University of Arizona Stable isotopes via laser absorption spectroscopy Los Gatos Research, Liquid Water Isotope Analyzer DLT-100 SmartChem200 Surface Water Lab Hydrology and Water Resources University of Arizona Automated colorimetric UV/VIS absorption Unity Scientific (formerly Westco Scientific Instruments) SmartChem 200 GA_titration Surface Water Lab Hydrology and Water Resources University of Arizona Gran-Alkalinity titration No specific instrument to report DionexIC3000 Surface Water Lab Hydrology and Water Resources University of Arizona Ion Chromatography; Detection limit 99% CI per EPA Dionex IC-3000: AS23/AG23 columns, 4 mm, K2CO3 eluent generator, conductivity ICP-OES Surface Water Lab Hydrology and Water Resources University of Arizona Inductively-coupled Plasma optical emissions pectrometer (ICP-OES) Perkin-Elmer Optima 5300 DV; Meinhard, Mira-Mist, Sea Spray nebulizer

## variables
Variable | description
SiteCode | a code for the site with format CZO_SiteName_SiteCode
SampleCode | a code used to identify the water sample
DateTime
Al (mg/L) | Aluminium
Al27 (mg/L) | Aluminium isotope 27
Alkalinity (mmol/L CaCO3)
Alkalinity (mg/L)
Br (mg/L) | Bromine
Ca (mg/L) | Calcium
Ca43 (ug/L) | Calcium isotope 43
Ca44 (ug/L) | Calcium isotope 44
Ce140 (ng/L) | Cerium
Cl (mg/L) | Chlorine
Co59 (ug/L) | Cobalt isotope 59
Cr52 (ug/L) | Chromium isotope 52
Cu63 (ug/L) | Copper isotope 63
DO (%) | Dissolved Oxygen
DO (mg/L) | Dissolved Oxygen
Delta Deuterium (per mill)
Delta Deuterium std dev
Deuterium excess (per mill)
Dy164 (ng/L) | Dysprosium isotope 164
EC (uS/cm) | electircal conductivity
Er166 (ng/L) | Erbium isotope 166
Eu153 (ng/L) | Europium isotope 153
F (mg/L) | Flourine
Fe (mg/L) | Iron
Fe56 (ug/L) | Iron isotope 56
Gage_Ht | Height of water column when sample was taken
Gd157 (ng/L) | Gadolinium isotope 157
H (mg/L) | Hydrogen + ion
Ho165 (ng/L) | Holmium isotope 165
ID na
K (mg/L) | Potassium
La139 (ng/L) | Lanthanum isotope 139
Lu175 (ng/L) | Lutetium isotope 175
MethodCode | Method used to measure results, refer to methods tab
Mg (mg/L) | Magnesium
Mg25 (ug/L) | Magnesium isotope 25
Mn (mg/L) | Manganese
Mn55 (ug/L) | Manganese isotope 55
NH4 (mg/L) | Ammonium
NO2 (mg/L) | Nitrogen dioxide
NO3 (mg/L) | Nitrate
Na (mg/L) | Sodium
Na23 (ug/L) | Sodium isotope 23
Nd145 (ng/L) | Neodymium isotope 145
Ni60 (ug/L) | Nickel isotope 60
PO4 (mg/L) | Phosphorus
Pb208 (ug/L) | Lead isotope 208
Pr141 (ng/L) | Praseodymium
SO4 (mg/L) | Sulfate
Sample id (na)
SampleType (na)
Sample_Date
SamplingMethod (na)
SamplingNote (na)
Si (mg/L) | Silicon
Si28 (mg/L) | Silicon isotope 28
Si28 (ug/L) | Silicon isotope 29
SiO2 (mg/L) | Silica
Sm147 (ng/L) | Samarium
Specific Conductivity (µS/cm)
Sr (mg/L) | Strontium
Tb159 (ng/L) | Terbium isotope 159
Temperature (C)
Tm169 (ng/L) | Thulium isotope 169
Y89 (ng/L) | Yttrium isotope 89
Yb174 (ng/L) | Ytterbium isotope 174
Zn64 (ug/L) | Zinc isotope 64
acid-neutralizing capacity (ueq/L)
acidity (ueq/L)
alkalinity (ueq/L)
analyzed material
anion sum
bad_filters (na)
cation sum
charge balance
chemical treatment (na)
date (na)
date collected (yyyy-mm-dd)
day (na)
delta Oxygen-18 (per mill)
delta Oxygen-18 std dev
descp no (na)
dissolved inorganic C (mg/L)
dissolved org C (mg/L)
dissolved org C (ppm)
dissolved org N (mg/L)
dissolved org P (ug/L)
evaporated (na)
filter pore-size (na)
hour (na)
inorganic N (mg/L)
inorganic P (ug/L)
location (na)
method (na)
minute (na)
month (na)
pH (pH)
particulate N (mg/L)
particulate P (ug/L)
particulate org C (mg/L)
record count (na)
sample preparation (na)
sampling_date_JD (na)
storage_time_days (na)
time (na)
time collected (hhmm)
total N (mg/L)
total P (ug/L)
total dissolved N (mg/L)
total dissolved P (ug P/L)
total dissolved P (ug/L)
total inorganic C (mg/L)
total org C (mg/L)
total suspended sediment (mg/L)
tritium (TU)
tritium std dev
year (na)

## sources
CZO | Title | Author | Author contact | DOI | URL
ERCZO | Rivendell - Rainfall Chemistry, Stream Water Chemistry, Throughfall Chemistry, Groundwater Chemistry - Solute chemistry (2007-2015) | Kim, Hyojin;Bishop,Jim;Dietrich, William; Fung,Inez | Hyojin Kim at hyojin820.kim@gmail.com |  | http://criticalzone.org/eel/data/dataset/4742/
LCZO | Chemistry of stream water from the Luquillo Mountains | William H. McDowell | McDowell, Bill;University of New Hampshire Department of Natural Resources James Hall Durham, NH 3824 United States Bill.McDowell@unh.edu |  | http://luq.lternet.edu/data/luqmetadata20
SSHCZO | Susquehanna Shale Hills Critical Zone Observatory - Shaver's Creek Watershed Stream Chemistry (2014) | Brantley, Susan L., GeoPass--170 Hoagland, Beth Sullivan, Pamela L. Cain, Molly Neal, Andrew Fisher, Jessica Russo, Tess | Dr. Tess Russo, – Assistant Professor, Department of Geosciences, 310 Deike Building, Pennsylvania State University, University Park, PA 16802, russo@psu.edu, (814)865-7389 Beth Hoagland, neh137@psu.edu, Graduate Student, 502-432-0755 | http://dx.doi.org/10.1594/IEDA/100611 | http://criticalzone.org/shale-hills/data/dataset/4129/
BCCZO | Green Lakes Valley - Stream Water Chemistry (1985-2011) - (data from Niwot Ridge LTER) | Niwot Ridge LTER | lternwt@colorado.edu |  | http://criticalzone.org/boulder/data/dataset/2865/
SSCZO | Southern Sierra Critical Zone Observatory - Stream Water Chemistry | Liu, Fengjing | Liu, Fengjing, LiuF@lincolnu.edu |  | https://github.com/miguelcleon/CZONetworkStreamChemistry/blob/master/Fw%20%20Stream%20Chemistry%20data%20for%20Southern%20Sierra.msg
CJCZO | Santa Catalina Mountains Stream Water Chemistry and Isotope Data | Jon Chorover, Peter Troch, Jennifer McIntosh, Paul Brooks, Nate Abramson, Ingo Heidbüchel, Mary Key Amistadi, Shawn Alexander Pedron | Jon Chorover, Department of Soil, Water and Environmental Science, University of Arizona, 1177 E. 4th Street, Tucson, AZ 85721, chorover@email.arizona.edu. |  | http://criticalzone.org/catalina-jemez/data/dataset/2740/
CJCZO | Jemez River Basin - Stream Water Chemistry (2005-2013) | Jennifer McIntosh, Jon Chorover, Peter Troch, Paul Brooks, Mary Key Amistadi, Timothy Corley, Xavier Zapata-Rios, Mark Losleben, Katherine Condon, Shawn Alexander Pedron | Jennifer McIntosh, Hydrology and Water Resources Department, University of Arizona, 1133 E. James E. Rogers Way, Tucson, AZ 85721, jenmc@email.arizona.edu; Jon Chorover, Department of Soil; Water and Environmental Science, University of Arizona, 1177 E. 4th Street, Tucson, AZ 85721, chorover@email.arizona.edu |  | http://criticalzone.org/catalina-jemez/data/dataset/4135/

## Sites
SiteCode | Site Name | Description | Latitude | Longitude | LocalProjectionID | Elevation (m)
ERCZO_Elder_Creek_ | Elder Creek in Rivendell |  | 39.7296 | -123.6445
LCZO_Quebrada_Sonadora_QS | Quebrada Sonadora | El Verde stream.
LCZO_Quebrada_Tronja_QT | Quebrada Toronja | El Verde stream.
LCZO_Rio_Espirtu_Santo_4_RES4 | Rio Espiritu Santo | LEF North Stream
LCZO_Quebrada_Pierta_A_QPA | Quebrada Prieta A | El Verde stream
LCZO_Quebrada_Pierta_B_QPB | Quebrada Prieta B | El Verde stream
LCZO_Quebrada_Pierta_QP | Quebrada Prieta | El Verde stream
LCZO_Mameyes_Puente_Roto_MPR | Puente Roto Mameyes | Bisley stream
LCZO_Bisley_Quebrada_1_Q1 | Quebrada uno-Bisley | Bisley stream
LCZO_Bisley_Quebrada_2_Q2 | Quebrada dos-Bisley | Bisley stream
LCZO_Bisley_Quebrada_3_Q3 | Quebrada tres-Bisley | Bisley stream
LCZO_Rio_Icacos_RI | Rio Icacos | LEF South stream
LCZO_Rio_Sabana_RS | Rio Sabana | LEF West stream
LCZO_Quebrada_Guaba_QG | Quebrada Guaba | Icacois stream
SSHCZO_Shavers_Creek_Outlet_ | Shaver's Creek Outlet, Central Pennsylvania, Huntingdon County |  | 40.6107 | -78.0067
SSHCZO_Shavers_Creek_above_Lake_Perez_ | Shaver's Creek, above Lake Perez, Central Pennsylvania, Huntingdon County |  | 40.6736 | -77.9026
SSHCZO_Shavers_Creek_below_Lake_Perez_ | Shaver's Creek, below Lake Perez, Central Pennsylvania, Huntingdon County |  | 40.6568 | -77.9187
SSHCZO_Shale_Hills_stream_outlet_by_weir_ | Shale Hills Critical Zone Observatory, Central Pennsylvania, Huntingdon County, stream outlet by weir |  | 40.6667 | -77.9028
BCCZO_GREEN_LAKE_5_ | Green Lake 5
BCCZO_GREEN_LAKE_1_ | Green Lake 1
BCCZO_GREEN_LAKE_4_ | Green Lake 4
BCCZO_GREEN_LAKE_5_ROCK_GLACIER_ | Green Lake 5 Rock Glacier
SSCZO_Providence_Creek_headwaters_P300 | Providence Creek headwaters P300 |  | 37.052 | -119.2033 | NAD27 | 1684
SSCZO_Providence_Creek_Subcatchment_P301 | Providence Creek Subcatchment P301 |  | 37.0595 | -119.2036 | NAD27 | 1792
SSCZO_Providence_Creek_Subcatchment_P303 | Providence Creek Subcatchment P303 |  | 37.054 | -119.1963 | NAD27 | 1731
SSCZO_Providence_Creek_Subcatchment_P304 | Providence Creek Subcatchment P304 |  | 37.0507 | -119.1953 | NAD27 | 1768
SSCZO_Duff_Creek_D102 | Duff Creek 102 |  | 37.0377 | -119.2029 | NAD27 | 1487
SSCZO_Bull_Creek_B200 | Bull Creek B200 |  | 36.9772 | -119.082 | NAD27 | 2130
SSCZO_Bull_Creek_subcatchment_B201 | Bull Creek subcatchment B201 |  | 36.9781 | -119.0792 | NAD27 | 2149
SSCZO_Bull_Creek_subcatchment_B203 | Bull Creek subcatchment B203 |  | 36.9759 | -119.0733 | NAD27 | 2182
SSCZO_Bull_Creek_subcatchment_B204 | Bull Creek subcatchment B204 |  | 36.9748 | -119.0731 | NAD27 | 2195
SSCZO_Teakettle_creek_T003 | Teakettle Creek T003 |  | 36.9589 | -119.0266 | NAD27 | 2048
CJCZO_Catalina_Marshall_Gulch_MG_G_OUT | Granite Outflow Sampling Site |  | 32.4307 | -110.7703 | NAD83 | 2382.2
CJCZO_Catalina_Marshall_Gulch_MG_S_OUT | Schist Outflow Sampling Site |  | 32.4271 | -110.7612 | NAD83 | 2307.7
CJCZO_Catalina_Marshall_Gulch_MG_S_SEEP | Schist Seep Outlet and Samling Location |  | 32.4263 | -110.7611 | NAD83 | 2330
CJCZO_Catalina_Marshall_Gulch_MG_WEIR | Marshall Gulch Weir and Sampling location |  | 32.4274 | -110.7579 | NAD83 | 2283.9
CJCZO_Jemez_FLUME_HG | History Grove |  | 35.8759 | -106.5125 | NAD83 | 2685
CJCZO_Jemez_FLUME_LJ | Lower Jaramillo Creek |  | 35.8929 | -106.4958 | NAD83 | 2633
CJCZO_Jemez_FLUME_UJ | Upper Jaramillo Creek |  | 35.9092 | -106.5304 | NAD83 | 2722
CJCZO_Jemez_FLUME_LLJ | Lower La Jara Creek |  | 35.8667 | -106.5215 | NAD83 | 2696
CJCZO_Jemez_FLUME_UR | Upper Redondo Creek |  | 35.8929 | -106.5766 | NAD83 | 2724
CJCZO_Jemez_FLUME_RM | Redondo Meadow |  | 35.8546 | -106.5941 | NAD83 | 2471
CJCZO_Jemez_FLUME_MCZOB | MC ZOB Flume |  | 35.8808 | -106.5357 | NAD83 | 3031
CJCZO_Jemez_LowerHG | Lower History Grove |  | 35.8772 | -106.5147 | NAD83
CJCZO_Jemez_TopHGSp | Top of History Grove Spring (HGs) |  | 35.8895 | -106.5222 | NAD83 | 2920
CJCZO_Jemez_CowboySp | Cowboy Spring |  | 35.9102 | -106.485 | NAD83 | 2656
CJCZO_Jemez_ERedondoSp6 | E Redondo Spring 6 |  | 35.8803 | -106.5867 | NAD83 | 2780
CJCZO_Jemez_WRedondoSp5 | W Redondo Spring 5 |  | 35.8959 | -106.57 | NAD83 | 2758
CJCZO_Jemez_LaJaraNo5 | La Jara 5 |  | 35.8758 | -106.5318 | NAD83 | 2884
CJCZO_Jemez_TopWLJF | Top of West La Jara Fork (LJ1s) |  | 35.8808 | -106.5461 | NAD83 | 3158
CJCZO_Jemez_LaJaraSeep | La Jara Seep (LJ4s) |  | 35.8724 | -106.5295 | NAD83 | 2859
CJCZO_Jemez_LaJaraMidWay | La Jara mid way between confluence and seep |  | 35.8736 | -106.5294 | NAD83 | 2851.5
CJCZO_Jemez_VGJJ7 | VGJJ7 |  | 35.8379 | -106.5015 | NAD83 | 2585
CJCZO_Jemez_WestTribLJ | West trib to La Jara |  | 35.8807 | -106.5357 | NAD83
CJCZO_Jemez_VGJJ9 | VGJJ9 |  | 35.8471 | -106.492 | NAD83 | 2591
CJCZO_Jemez_ConvUJFork | convergence Upper Jaramillo fork |  | 35.9053 | -106.5424 | NAD83
CJCZO_Jemez_UpJaramilloPond1 | Upper Jaramillo Pond 1 |  | 35.8991 | -106.5413 | NAD83
CJCZO_Jemez_UpJaramilloPond2 | Upper Jaramillo Pond 2 |  | 35.8953 | -106.5455 | NAD83
CJCZO_Jemez_TopELJFSp | Top of East La Jara Fork Spring |  | 35.8806 | -106.5397 | NAD83 | 3058
CJCZO_Jemez_LaJaraUpStreamOfSeep | La Jara stream upstream of seep |  | 35.8726 | -106.5291 | NAD83 | 2837.2
CJCZO_Jemez_UpRedondoPondSpSouth | Upper Redondo Pond Spring South |  | 35.8783 | -106.5749 | NAD83
CJCZO_Jemez_RedondoSp1 | Redondo Spring 1 |  | 35.8803 | -106.5832 | NAD83 | 2705
CJCZO_Jemez_UpRedondoPondSp | Upper Redondo Pond Spring (UR1s) |  | 35.8788 | -106.5752 | NAD83 | 2840
CJCZO_Jemez_RedondoSp3 | Redondo Spring 3 |  | 35.8872 | -106.572 | NAD83
CJCZO_Jemez_RedondoSp5 | Upper Redondo Spring 5 |  | 35.8959 | -106.5735 | NAD83
CJCZO_Jemez_EastSp | East spring (Es) |  | 35.8917 | -106.5114 | NAD83
CJCZO_Jemez_EFJGage | Gage Flume |  | 35.8368 | -106.5017 | NAD83
CJCZO_Jemez_UpJaramilloSp3 | Upper Jaramillo Spring 3 (UJ1s) |  | 35.8951 | -106.5465 | NAD83 | 2890
CJCZO_Jemez_TopUJSp | Top of Upper Jaramillo Spring (UJ2s) |  | 35.8942 | -106.5378 | NAD83 | 2867
CJCZO_Jemez_RedondoMeadowSp | Redondo Meadow Spring |  | 35.8536 | -106.5919 | NAD83 | 2489
CJCZO_Jemez_SouthSp | South Spring (LJ2s) |  | 35.8783 | -106.5447 | NAD83 | 3086
CJCZO_Jemez_SpringB | Spring B |  | 35.905 | -106.5268 | NAD83 | 2768
CJCZO_Jemez_SpringE | Spring E |  | 35.9023 | -106.5287 | NAD83 | 2821
CJCZO_Jemez_FLUME_ULJ | Upper La Jara Creek |  | 35.8703 | -106.5273 | NAD83 | 2775
CJCZO_Jemez_UpRedondoSp3 | Upper Redondo Spring 3 (UR2s) |  | 35.8896 | -106.5658 | NAD83 | 2859
CJCZO_Jemez_LaJaraBelowConf | La Jara below confluence |  | 35.8747 | -106.5304 | NAD83 | 2942.2
CJCZO_Jemez_EFJR | E. Fork Jemez River |  | 35.8485 | -106.4908 | NAD83 | 2592
CJCZO_Jemez_FLUME_LR | Lower Redondo Creek |  | 35.8663 | -106.5978 | NAD83 | 2508
CJCZO_Jemez_Hwy4Culvert | Hiway 4 culvert |  | 35.852 | -106.451 | NAD83
CJCZO_Jemez_BelowSouthSp | Below south spring before west fork only Uranium split |  | 35.8788 | -106.5439 | NAD83 | 3069
CJCZO_Jemez_WFLJbelowSouthSp1 | below Confluence South spring and West Fork La Jara |  | 35.8786 | -106.5424 | NAD83 | 3040
CJCZO_Jemez_WFLJaboveConf | West Fork La Jara above confluence |  | 35.8745 | -106.5314 | NAD83 | 2969
CJCZO_Jemez_EastForkLJAboveConf | East Fork La Jara above confluence |  | 35.8752 | -106.5312 | NAD83 | 2880
CJCZO_Jemez_LaJaraAboveSeep | La Jara stream above seep |  | 35.8725 | -106.5291 | NAD83
CJCZO_Jemez_JaramilloMid | Jaramillo Mid |  | 35.9113 | -106.5139 | NAD83 | 2686
CJCZO_Jemez_WFLJbelowSouthSp2 | below Confluence South spring and West Fork La Jara 2 |  | 35.875 | -106.537 | NAD83 | 2997
CJCZO_Jemez_WFLJbelowSouthSp3 | below Confluence South springand West Fork La Jara 3 |  | 35.8744 | -106.5358 | NAD83 | 2971
CJCZO_Jemez_HGPond | History Grove Pond |  | 35.8856 | -106.5331 | NAD83 | 3022
CJCZO_Jemez_EFHGmid | East Fork History Grovein the middle |  | 35.8835 | -106.5188 | NAD83 | 2834
CJCZO_Jemez_HGbelowConf | History Grove below confluence |  | 35.8804 | -106.5179 | NAD83 | 2857
CJCZO_Jemez_JemezAtSEC | Jemez River at SEC |  | 35.7803 | -106.688 | NAD83 | 1916
CJCZO_Jemez_WLJFaboveZOBfork | East Fork above ZOB fork |  | 35.8748 | -106.5309 | NAD83
CJCZO_Jemez_LaJaraNo2 | La Jara No2 |  | 35.8724 | -106.529 | NAD83 | 2834
CJCZO_Jemez_LaJaraAboveSeep3 | 3rd LaJara, above seep |  | 35.8726 | -106.5291 | NAD83
CJCZO_Jemez_FLUME_SSp | South Spring Flume |  | 35.8786 | -106.5445 | NAD83 | 3082
CJCZO_Jemez_EPSCOR | EPSCOR Meander ISCO |  | 35.841 | -106.5014 | NAD83
CJCZO_Jemez_MC_OF2 | Mixed Conifer ZOB - Overflow 2 |  | 35.882 | -106.5356 | NAD83 | 3009.9
CJCZO_Jemez_FLUME_UJSp | Upper Jaramillo Spring Flume |  | 35.8951 | -106.5379 | NAD83 | 2861
CJCZO_Jemez_EFJ2/VGS1 | EFJ2/VGS1 |  | 35.8513 | -106.4857 | NAD83
CJCZO_Jemez_EFJ3/VGS2 | EFJ3/VGS2 |  | 35.8513 | -106.4857 | NAD83
CJCZO_Jemez_EFJ4/VGS3 | EFJ4/VGS3 |  | 35.8513 | -106.4857 | NAD83
CJCZO_Jemez_EFJ5/VGS4 | EFJ5/VGS4 |  | 35.8459 | -106.4963 | NAD83
CJCZO_Jemez_EFJ6/VGS5 | EFJ6/VGS5 |  | 35.8459 | -106.4963 | NAD83
CJCZO_Jemez_EFJ7/VGS6 | EFJ7/VGS6 |  | 35.8459 | -106.4963 | NAD83
CJCZO_Jemez_VGKC1 | VGKC1 |  | 35.8673 | -106.4343 | NAD83 | 2619
CJCZO_Jemez_VGKC2 | VGKC2 |  | 35.8626 | -106.4332 | NAD83 | 2630
CJCZO_Jemez_VGKC3 | VGKC3 |  | 35.8625 | -106.4368 | NAD83 | 2616
CJCZO_Jemez_VGKC4 | VGKC4 |  | 35.86 | -106.4415 | NAD83 | 2608
CJCZO_Jemez_VGKC5 | VGKC5 |  | 35.8543 | -106.453 | NAD83 | 2626
CJCZO_Jemez_VGJJ1 | VGJJ1 |  | 35.8642 | -106.5162 | NAD83 | 2661
CJCZO_Jemez_VGJJ2 | VGJJ2 |  | 35.8788 | -106.4995 | NAD83 | 2638
CJCZO_Jemez_VGJJ3 | VGJJ3 |  | 35.8865 | -106.4728 | NAD83 | 2631
CJCZO_Jemez_VGJJ4 | VGJJ4 |  | 35.8717 | -106.444 | NAD83 | 2607
CJCZO_Jemez_VGJJ5 | VGJJ5 |  | 35.8624 | -106.5196 | NAD83 | 2664
CJCZO_Jemez_VGJJ6 | VGJJ6 |  | 35.856 | -106.5119 | NAD83
CJCZO_Jemez_VGJJ8 | VGJJ8 |  | 35.8408 | -106.4992 | NAD83 | 2589
CJCZO_Jemez_VGJJ10 | VGJJ10 |  | 35.8562 | -106.4996 | NAD83
CJCZO_Jemez_VGJJ11 | VGJJ11 |  | 35.867 | -106.4526 | NAD83
CJCZO_Jemez_USGS_JRgage | Jemez River USGS Gauge |  | 35.6687 | -106.7436 | NAD83 | 1720
CJCZO_Jemez_EFAW | East Fork Artesian Well |  | 35.8644 | -106.4559 | NAD83
CJCZO_Jemez_EFJ6/VGS5Jar | EFJ6/VGS5Jar |  | 35.8549 | -106.4784 | NAD83
CJCZO_Jemez_MidRedondo | Mid Redondo Creek |  | 35.8781 | -106.5876 | NAD83 | 2849
CJCZO_Jemez_WFLJ1 | WFLJ1 |  | 35.8798 | -106.5444 | NAD83
CJCZO_Jemez_MeadowSp1 | Meadow Spring 1 |  | 35.8858 | -106.537 | NAD83 | 3022
CJCZO_Jemez_LaJaraNo4 | La Jara 4 |  | 35.8805 | -106.5354 | NAD83 | 3044
CJCZO_Jemez_EFRedondo1 | EF Redondo 1 |  | 35.8964 | -106.5707 | NAD83 | 2826
CJCZO_Jemez_RedondoPond | Redondo Cr Pond |  | 35.8884 | -106.5821 | NAD83 | 2664
CJCZO_Jemez_RedondoSp2 | Redondo Spring 2 |  | 35.8816 | -106.5735 | NAD83
CJCZO_Jemez_SulfurSp | Sulfur Spring |  | 35.9079 | -106.6161 | NAD83 | 2502

## Notes
notes:
Tried to convert units for the two Alkalinity columns but the value ranges didn't seem comparable, so I left them as
seperate columns
BCCZO 2 values are possibly no detect; <0.161 and <0.28 but those numbers don't match the detection limit.
I Set these to blank because it's only 2 values
Cl- (ueq/L) NO3- (ueq/L)
GREEN LAKE 5 7/2/1992 DNS 7/2/1992 1287 <0.28
GREEN LAKE 5 10/7/1993 1000 10/7/1993 10:00 1309 <0.161