{"text_format":"3","workbook":"xls","n_sheets":4,"sheets":["Absorption ","Data","Sheet2","Sheet3"],"not_rendered":{"charts":1,"external_links":1},"unopened":[{"sheet":"Absorption ","index":0,"reason":"not_a_worksheet"}],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Data","index":1,"n_rows":30,"n_cols":9,"rows_kept":30,"flags":["formulas_cached_only"]}
[]
[null,null,"Required absorption 'a' for specified T60 as function of room dimensions"]
[]
[null,null,"Room","A","B","C","D","E"]
[null,null,"L/feet",15,20,25,30,50]
[null,null,"W/feet",10,15,16,20,20]
[null,null,"H/feet",8,8,8,9,10]
[]
[null,null,"L x W ft^2",150,300,400,600,1000]
[null,null,"V/S m",{"v":0.5211428571428572,"d":"0.52"},{"v":0.6289655172413794,"d":"0.63"},{"v":0.6681318681318681,"d":"0.67"},{"v":0.7817142857142857,"d":"0.78"},{"v":0.8941176470588236,"d":"0.89"}]
[]
[null,null,"T60/s","a","a","a","a","a","BW/Hz"]
[null,null,0.2,{"v":0.42473142857142865,"d":"42%"},{"v":0.5126068965517242,"d":"51%"},{"v":0.5445274725274725,"d":"54%"},{"v":0.6370971428571428,"d":"64%"},{"v":0.7287058823529411,"d":"73%"},{"v":11,"d":"11.0"}]
[null,null,0.3,{"v":0.2831542857142858,"d":"28%"},{"v":0.3417379310344828,"d":"34%"},{"v":0.363018315018315,"d":"36%"},{"v":0.4247314285714286,"d":"42%"},{"v":0.48580392156862745,"d":"49%"},{"v":7.333333333333334,"d":"7.3"}]
[null,null,0.4,{"v":0.21236571428571432,"d":"21%"},{"v":0.2563034482758621,"d":"26%"},{"v":0.27226373626373623,"d":"27%"},{"v":0.3185485714285714,"d":"32%"},{"v":0.36435294117647055,"d":"36%"},5.5]
[null,null,0.6,{"v":0.1415771428571429,"d":"14%"},{"v":0.1708689655172414,"d":"17%"},{"v":0.1815091575091575,"d":"18%"},{"v":0.2123657142857143,"d":"21%"},{"v":0.24290196078431373,"d":"24%"},{"v":3.666666666666667,"d":"3.7"}]
[null,null,0.8,{"v":0.10618285714285716,"d":"11%"},{"v":0.12815172413793105,"d":"13%"},{"v":0.13613186813186812,"d":"14%"},{"v":0.1592742857142857,"d":"16%"},{"v":0.18217647058823527,"d":"18%"},{"v":2.75,"d":"2.8"}]
[null,null,1.6,{"v":0.05309142857142858,"d":"5%"},{"v":0.06407586206896553,"d":"6%"},{"v":0.06806593406593406,"d":"7%"},{"v":0.07963714285714285,"d":"8%"},{"v":0.09108823529411764,"d":"9%"},{"v":1.375,"d":"1.4"}]
[]
[null,null,"T60/s","ZL/Z0","ZL/Z0","ZL/Z0","ZL/Z0","ZL/Z0"]
[null,null,0.2,{"v":3.7088580346571947,"d":"3.7"},{"v":2.901625228715961,"d":"2.9"},{"v":2.6729092670326127,"d":"2.7"},{"v":2.1392386897714637,"d":"2.1"},{"v":1.7445915402001941,"d":"1.7"}]
[null,null,0.3,{"v":6.063287051985791,"d":"6.1"},{"v":4.852437843073941,"d":"4.9"},{"v":4.509363900548919,"d":"4.5"},{"v":3.708858034657195,"d":"3.7"},{"v":3.1168873103002905,"d":"3.1"}]
[null,null,0.4,{"v":8.41771606931439,"d":"8.4"},{"v":6.803250457431922,"d":"6.8"},{"v":6.3458185340652244,"d":"6.3"},{"v":5.278477379542927,"d":"5.3"},{"v":4.489183080400388,"d":"4.5"}]
[null,null,0.6,{"v":13.126574103971581,"d":"13.1"},{"v":10.704875686147885,"d":"10.7"},{"v":10.018727801097837,"d":"10.0"},{"v":8.41771606931439,"d":"8.4"},{"v":7.233774620600581,"d":"7.2"}]
[null,null,0.8,{"v":17.83543213862878,"d":"17.8"},{"v":14.606500914863844,"d":"14.6"},{"v":13.69163706813045,"d":"13.7"},{"v":11.556954759085855,"d":"11.6"},{"v":9.978366160800777,"d":"10.0"}]
[null,null,1.6,{"v":36.67086427725756,"d":"36.7"},{"v":30.21300182972769,"d":"30.2"},{"v":28.3832741362609,"d":"28.4"},{"v":24.11390951817171,"d":"24.1"},{"v":20.956732321601553,"d":"21.0"}]
[]
[]
[]
[null,null,"Enter bolded values",{"$nulls":4},"2/2/06  SL"]

{"sheet":"Sheet2","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":3,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}