{"text_format":"3","workbook":"xls","n_sheets":10,"sheets":["LX2 TF","LX2 ISO","DL3 TF","DL3 ISO","FZ50 TF","FZ50 ISO","VL1 TF","FZ50 TF2","FZ50 EV","VL1 ISO"],"not_rendered":{"charts":39,"external_links":2},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"LX2 TF","index":0,"n_rows":41,"n_cols":13,"rows_kept":41,"flags":["formulas_cached_only"]}
[]
["2/18/08 SL",null,"LX2","ISO 400",null,null,"No: EP7EA01960 R"]
[{"$nulls":11},"Mean","S/N"]
[{"$nulls":4},"Colors","Colors","Luminos.","Luminos.","Colors","Colors","Luminos.","slope K =","slope ="]
["RAW","Exposure","Aperture f/","Time1/","Mean","Std Dev","Mean","Std Dev","log2(Mean)","log2(S/N)","log2(S/N)",0.78,1]
[]
[66,3,2.8,2,254.99,0.11,254.99,0.08,{"v":7.989656854493579,"d":"8.0"},{"v":11.17223313976827,"d":"11.17"},{"v":11.631398097680325,"d":"11.63"},9.84,8]
[65,2,2.8,4,233.08,3.91,231.26,1.39,{"v":7.860116631268133,"d":"7.9"},{"v":5.894089796713855,"d":"5.89"},{"v":7.3740045938954495,"d":"7.37"},9.06,7]
[64,1,2.8,8,188.46,5.52,186.37,2.39,{"v":7.553727700116732,"d":"7.6"},{"v":5.090489962055792,"d":"5.09"},{"v":6.2813673061560955,"d":"6.28"},8.28,6]
[58,0,2.8,15,150.55,6.79,148.65,3.16,{"v":7.229900122697943,"d":"7.2"},{"v":4.468092472086678,"d":"4.47"},{"v":5.552626398662875,"d":"5.55"},7.5,5]
[59,-1,2.8,30,86.83,8.15,85.1,3.96,{"v":6.4363837393952945,"d":"6.4"},{"v":3.4113404783785723,"d":"3.41"},{"v":4.423018122208131,"d":"4.42"},6.72,4]
[60,-2,2.8,60,51.11,8.79,50.67,4.54,{"v":5.672239524771387,"d":"5.7"},{"v":2.538196459526464,"d":"2.54"},{"v":3.478347570759443,"d":"3.48"},5.9399999999999995,3]
[61,-3,2.8,125,27.7,9.38,27.26,4.77,{"v":4.78903283329397,"d":"4.8"},{"v":1.5613194098754748,"d":"1.56"},{"v":2.5132648085623557,"d":"2.51"},5.16,2]
[62,-4,2.8,250,13.05,8.49,12.94,4.6,{"v":3.7038268987586753,"d":"3.7"},{"v":0.6198533671487524,"d":"0.62"},{"v":1.4912657962416769,"d":"1.49"},4.38,1]
[63,-5,2.8,500,5.07,6.7,4.36,3.56,{"v":2.3406264249866755,"d":"2.3"},{"v":-0.40194191998006834,"d":"-0.40"},{"v":0.2922811511017601,"d":"0.29"},3.5999999999999996,0]
{"$rows_empty":25}
[null,"2/18/08 SL",null,"LX2","ISO 400"]

{"sheet":"LX2 ISO","index":1,"n_rows":18,"n_cols":11,"rows_kept":18,"flags":["formulas_cached_only"]}
[]
["2/18/08 SL",null,"LX2","S/N vs ISO",null,null,"No: EP7EA01960 R"]
[]
[{"$nulls":4},"Colors","Colors","Luminos.","Luminos.","Colors","Luminos.","S/N"]
["RAW","ISO","Aperture f/","Time1/","Mean","Std Dev","Mean","Std Dev","log2(S/N)","log2(S/N)","slope"]
[]
[471,100,2.8,4,143,2.99,143,1.34,{"v":5.576487299146899,"d":"5.58"},{"v":6.7337277138128435,"d":"6.73"},7.5]
[470,200,2.8,8,146,4.16,145,2.01,{"v":5.130261623523545,"d":"5.13"},{"v":6.1691308567840935,"d":"6.17"},7]
[467,400,2.8,15,147.26,7.09,145.34,2.97,{"v":4.373896022379285,"d":"4.37"},{"v":5.609567305712895,"d":"5.61"},6.5]
[468,800,2.8,30,148.32,9.05,145.31,3.74,{"v":4.032309776816125,"d":"4.03"},{"v":5.276887349899943,"d":"5.28"},6]
[469,1600,2.8,60,149.12,10.21,148.03,4.63,{"v":3.8661737077043465,"d":"3.87"},{"v":4.995832243762486,"d":"5.00"},5.5]
[]
["JPG"]
[471,100,2.8,4,144,2.33,144,1.6,{"v":5.946141815949845,"d":"5.95"},{"v":6.488085131338559,"d":"6.49"},7.5]
[470,200,2.8,8,147,2.44,147,1.51,{"v":5.909359327919362,"d":"5.91"},{"v":6.601290086350622,"d":"6.60"},7]
[467,400,2.8,15,146,1.84,147,1.59,{"v":6.3064563088126695,"d":"6.31"},{"v":6.526855098620046,"d":"6.53"},6.5]
[468,800,2.8,30,148,2.82,147,1.82,{"v":5.71044185549098,"d":"5.71"},{"v":6.332056543253496,"d":"6.33"},6]
[469,1600,2.8,60,148,3.35,149,2.02,{"v":5.462120135748932,"d":"5.46"},{"v":6.201211864565958,"d":"6.20"},5.5]

{"sheet":"DL3 TF","index":2,"n_rows":41,"n_cols":13,"rows_kept":41,"flags":["formulas_cached_only"]}
[]
["2/18/08 SL",null,"D-LUX3","ISO 400",null,null,"No: 3493310"]
[{"$nulls":11},"Mean","S/N"]
[{"$nulls":4},"Colors","Colors","Luminos.","Luminos.","Colors","Colors","Luminos.","slope K =","slope ="]
["RAW","Exposure","Aperture f/","Time1/","Mean","Std Dev","Mean","Std Dev","log2(Mean)","log2(S/N)","log2(S/N)",0.6,1]
[]
[126,3,2.8,2,255,0,255,0,{"v":7.98971339904073,"d":"8.0"},{"$error":"#DIV/0!"},{"$error":"#DIV/0!"},9.3,8]
[125,2,2.8,4,246.33,3.26,244.84,1.26,{"v":7.939837458740168,"d":"7.9"},{"v":6.2359550265146115,"d":"6.24"},{"v":7.597859261355829,"d":"7.60"},8.7,7]
[128,1,2.8,8,210.9,5.1,208.61,1.91,{"v":7.715934244735094,"d":"7.7"},{"v":5.366801260089947,"d":"5.37"},{"v":6.7671618293554685,"d":"6.77"},8.1,6]
[119,0,2.8,15,152.12,6.42,150.38,3.26,{"v":7.244858571575289,"d":"7.2"},{"v":4.563842278386696,"d":"4.56"},{"v":5.524388634999945,"d":"5.52"},7.5,5]
[120,-1,2.8,30,104.73,7.35,103.36,3.95,{"v":6.706636063732352,"d":"6.7"},{"v":3.8305620979728263,"d":"3.83"},{"v":4.7069479446815015,"d":"4.71"},6.9,4]
[121,-2,2.8,60,64.93,8.22,63.97,4.55,{"v":6.01731873753755,"d":"6.0"},{"v":2.9799443033045825,"d":"2.98"},{"v":3.8112436474806946,"d":"3.81"},6.3,3]
[122,-3,2.8,125,37.64,9.16,37.03,5.03,{"v":5.231156720987328,"d":"5.2"},{"v":2.037663748410065,"d":"2.04"},{"v":2.87839261361847,"d":"2.88"},5.7,2]
[129,-4,2.8,250,16.68,8.37,16.64,4.71,{"v":4.05769087372171,"d":"4.1"},{"v":0.994242353184087,"d":"0.99"},{"v":1.8197996172216857,"d":"1.82"},5.1,1]
[131,-5,2.8,500,6.34,6.62,5.75,3.66,{"v":2.6629363361673524,"d":"2.7"},{"v":-0.06231218877245139,"d":"-0.06"},{"v":0.6513400408601296,"d":"0.65"},4.5,0]
{"$rows_empty":25}
[null,"2/18/08 SL",null,"D-LUX3","ISO 400"]

{"sheet":"DL3 ISO","index":3,"n_rows":18,"n_cols":11,"rows_kept":18,"flags":["formulas_cached_only"]}
[]
["2/18/08 SL",null,"D-LUX3","S/N vs ISO",null,null,"No: 3493310"]
[]
[{"$nulls":4},"Colors","Colors","Luminos.","Luminos.","Colors","Luminos.","S/N"]
["RAW","ISO","Aperture f/","Time1/","Mean","Std Dev","Mean","Std Dev","log2(S/N)","log2(S/N)","slope"]
[" "]
[136,100,2.8,4,145,3.59,144,1.32,{"v":5.3328281981400965,"d":"5.33"},{"v":6.7654580221528064,"d":"6.77"},7.5]
[135,200,2.8,8,146,4.69,145,1.95,{"v":4.957357643390254,"d":"4.96"},{"v":6.212826857696557,"d":"6.21"},7]
[132,400,2.8,15,150,6.51,149,2.82,{"v":4.523534098018464,"d":"4.52"},{"v":5.720151371508471,"d":"5.72"},6.5]
[133,800,2.8,30,150,8.08,147,3.46,{"v":4.2120172622932355,"d":"4.21"},{"v":5.405760903371926,"d":"5.41"},6]
[134,1600,2.8,60,151,9.19,149,4.17,{"v":4.0359959672114325,"d":"4.04"},{"v":5.156126708615874,"d":"5.16"},5.5]
[]
["JPG"]
[136,100,2.8,4,147,2.58,146,1.12,{"v":5.82891612756602,"d":"5.83"},{"v":7.022247645939327,"d":"7.02"},7.5]
[135,200,2.8,8,148,2.81,148,1.22,{"v":5.715563913026393,"d":"5.72"},{"v":6.918554257271094,"d":"6.92"},7]
[132,400,2.8,15,150,1.69,150,1.43,{"v":6.4680391207474655,"d":"6.47"},{"v":6.708907335680856,"d":"6.71"},6.5]
[133,800,2.8,30,150,2.48,149,1.62,{"v":5.9150433997218235,"d":"5.92"},{"v":6.519388562847214,"d":"6.52"},6]
[134,1600,2.8,60,151,2.25,151,1.81,{"v":6.064957504883599,"d":"6.06"},{"v":6.37871059644763,"d":"6.38"},5.5]

{"sheet":"FZ50 TF","index":4,"n_rows":41,"n_cols":14,"rows_kept":41,"flags":["formulas_cached_only"]}
[]
["2/18/08 SL",null,"FZ50","ISO 400",null,null,"No: G6SCO4867 R"]
[{"$nulls":12},"Mean","S/N"]
[{"$nulls":4},"Colors","Colors","Luminos.","Luminos.","Colors","Colors","Colors","Luminos.","slope K =","slope ="]
["RAW","Exposure","Aperture f/","Time1/","Mean","Std Dev","Mean","Std Dev","log2(Mean)","log2(StdD)","log2(S/N)","log2(S/N)",0.7,1]
[]
[180,3,2.8,2,254.94,0.24,254.96,0.19,{"v":7.9893740984908845,"d":"8.0"},{"v":-2.0576986775174677,"d":"-2.1"},{"v":10.047072776008351,"d":"10.05"},{"v":10.384025252382653,"d":"10.38"},9.6,8]
[179,2,2.8,4,240.73,3.61,239.05,1.28,{"v":7.906680316576417,"d":"7.9"},{"v":1.8509239103267843,"d":"1.9"},{"v":6.055756406249633,"d":"6.06"},{"v":7.540645544234679,"d":"7.54"},8.9,7]
[178,1,2.8,8,196,5.08,194.11,2.19,{"v":7.6102901569035,"d":"7.6"},{"v":2.343467524782612,"d":"2.3"},{"v":5.266822632120888,"d":"5.27"},{"v":6.46604459857664,"d":"6.47"},8.2,6]
[172,0,2.8,15,140.22,7.38,138.22,3.45,{"v":7.127409076415889,"d":"7.1"},{"v":2.881947121252498,"d":"2.9"},{"v":4.245461955163392,"d":"4.25"},{"v":5.321135954618123,"d":"5.32"},7.5,5]
[173,-1,2.8,30,89.69,8.55,87.3,3.9,{"v":6.4831101597294625,"d":"6.5"},{"v":3.094127500897533,"d":"3.1"},{"v":3.3889826588319294,"d":"3.39"},{"v":4.4818327937745135,"d":"4.48"},6.8,4]
[174,-2,2.8,60,55.06,9.65,52.56,4.43,{"v":5.779576207430274,"d":"5.8"},{"v":3.268630680301391,"d":"3.3"},{"v":2.5109455271288823,"d":"2.51"},{"v":3.566515412691134,"d":"3.57"},6.1,3]
[175,-3,2.8,125,29.16,10.12,28.07,4.77,{"v":4.863094565224511,"d":"4.9"},{"v":3.3371993015125505,"d":"3.3"},{"v":1.5258952637119603,"d":"1.53"},{"v":2.5554837915331596,"d":"2.56"},5.4,2]
[176,-4,2.8,250,13.74,9.08,13.1,4.71,{"v":3.7781159526421244,"d":"3.8"},{"v":3.1808450170900024,"d":"3.2"},{"v":0.5972709355521225,"d":"0.60"},{"v":1.4749112899092018,"d":"1.47"},4.7,1]
[177,-5,2.8,500,4.94,6.98,3.71,3.24,{"v":2.3031734704265077,"d":"2.3"},{"v":2.801600003108895,"d":"2.8"},{"v":-0.49842653268238696,"d":"-0.50"},{"v":0.19531194603599997,"d":"0.20"},4,0]
{"$rows_empty":25}
[null,"2/18/08 SL",null,"FZ50","ISO 400"]

{"sheet":"FZ50 ISO","index":5,"n_rows":18,"n_cols":11,"rows_kept":18,"flags":["formulas_cached_only"]}
[]
["2/19/08 SL",null,"FZ50","S/N vs ISO",null,null,"No: G6SCO4867 R"]
[]
[{"$nulls":4},"Colors","Colors","Luminos.","Luminos.","Colors","Luminos.","S/N"]
["RAW","ISO","Aperture f/","Time1/","Mean","Std Dev","Mean","Std Dev","log2(S/N)","log2(S/N)","slope"]
[]
[186,100,2.8,4,141,5.29,142,1.52,{"v":4.733534622859045,"d":"4.73"},{"v":6.541876591375102,"d":"6.54"},7.5]
[185,200,2.8,8,142,5.55,143,2.15,{"v":4.674544599384462,"d":"4.67"},{"v":6.0520199574641955,"d":"6.05"},7]
[182,400,2.8,15,145,7.34,143,3.19,{"v":4.301630848498762,"d":"4.30"},{"v":5.483130576634164,"d":"5.48"},6.5]
[183,800,2.8,30,144,10.77,142,4.75,{"v":3.7388073388069296,"d":"3.74"},{"v":4.89897451939719,"d":"4.90"},6]
[184,1600,2.8,60,147,15.96,143,7.27,{"v":3.201424366475105,"d":"3.20"},{"v":4.295421400331999,"d":"4.30"},5.5]
[]
["JPG"]
[186,100,2.8,4,140,4.43,142,1.16,{"v":4.979084707391159,"d":"4.98"},{"v":6.931596779118379,"d":"6.93"},7.5]
[185,200,2.8,8,144,4.31,143,1.81,{"v":5.0592989368226,"d":"5.06"},{"v":6.3002227758183125,"d":"6.30"},7]
[182,400,2.8,15,144,2.6,144,1.83,{"v":5.788051958493113,"d":"5.79"},{"v":6.294425855851203,"d":"6.29"},6.5]
[183,800,2.8,30,143,3.41,143,2.27,{"v":5.386971106128913,"d":"5.39"},{"v":5.973709798502838,"d":"5.97"},6]
[184,1600,2.8,60,146,3.99,145,2.69,{"v":5.1904214675243265,"d":"5.19"},{"v":5.748964197812122,"d":"5.75"},5.5]

{"sheet":"VL1 TF","index":6,"n_rows":41,"n_cols":13,"rows_kept":41,"flags":["formulas_cached_only"]}
[]
["2/18/08 SL",null,"VL1","ISO 400",null,null,"No: 3129518"]
[{"$nulls":11},"Mean","S/N"]
[{"$nulls":4},"Colors","Colors","Luminos.","Luminos.","Colors","Colors","Luminos.","slope K =","slope ="]
["RAW","Exposure","Aperture f/","Time1/","Mean","Std Dev","Mean","Std Dev","log2(Mean)","log2(S/N)","log2(S/N)",0.7,1]
[]
[326,3,2.8,2,254.96,0.21,255,0.02,{"v":7.989487207546046,"d":"8.0"},{"v":10.239719149029433,"d":"10.24"},{"v":13.630293813436314,"d":"13.63"},9.6,8]
[325,2,2.8,4,246.93,4.1,244.97,1.14,{"v":7.943345203275029,"d":"7.9"},{"v":5.9089027989655065,"d":"5.91"},{"v":7.742930728841225,"d":"7.74"},8.9,7]
[324,1,2.8,8,200.21,5.54,197.89,2.09,{"v":7.640932741900226,"d":"7.6"},{"v":5.172480323001839,"d":"5.17"},{"v":6.561241507143838,"d":"6.56"},8.2,6]
[318,0,2.8,15,130.69,8.05,128.31,3.71,{"v":7.025924628438272,"d":"7.0"},{"v":4.018682305616949,"d":"4.02"},{"v":5.10910349659994,"d":"5.11"},7.5,5]
[319,-1,2.8,30,88.26,9.33,86.14,4.25,{"v":6.459936224729097,"d":"6.5"},{"v":3.239929167490717,"d":"3.24"},{"v":4.338628912089216,"d":"4.34"},6.8,4]
[320,-2,2.8,60,53.9,10.82,51.86,5.14,{"v":5.7488747004199725,"d":"5.7"},{"v":2.3152401946617442,"d":"2.32"},{"v":3.332846386214349,"d":"3.33"},6.1,3]
[321,-3,2.8,125,27.64,11.43,27.45,5.64,{"v":4.785906288491174,"d":"4.8"},{"v":1.2731928035788385,"d":"1.27"},{"v":2.2817139727451914,"d":"2.28"},5.4,2]
[322,-4,2.8,250,13.33,10.1,12.78,5.33,{"v":3.734436096054013,"d":"3.7"},{"v":0.40008913509563926,"d":"0.40"},{"v":1.260948100722086,"d":"1.26"},4.7,1]
[323,-5,2.8,500,5.38,7.78,4.19,3.8,{"v":2.426197155212412,"d":"2.4"},{"v":-0.5318551067933552,"d":"-0.53"},{"v":0.14086901548029096,"d":"0.14"},4,0]
{"$rows_empty":25}
[null,"2/18/08 SL",null,"VL1","ISO 400"]

{"sheet":"FZ50 TF2","index":7,"n_rows":74,"n_cols":14,"rows_kept":74,"flags":["formulas_cached_only"]}
[]
["3/3/08 SL",null,"FZ50",null,"No: G6SCO4867 R"]
[{"$nulls":9},"Mean","S/N"]
[{"$nulls":3},"ISO 100","Luminos.","Luminos.","Luminos.","Luminos.","Luminos.","slope K =","slope ="]
["RAW","Exposure","Aperture f/","Time1/","Mean","Std Dev","log2(Mean)","log2(StdD)","log2(S/N)",0.7,1]
[]
[270,3,3.2,"0.5s",255,1,{"v":7.98971339904073,"d":"8.0"},{"v":0,"d":"0.0"},{"v":7.98971339904073,"d":"7.99"},9.6,9]
[269,2,3.2,"1s",237.27,1,{"v":7.885806196465756,"d":"7.9"},{"v":0,"d":"0.0"},{"v":7.885806196465756,"d":"7.89"},8.9,8]
[268,1,3.2,2,191.64,1,{"v":7.577854058457877,"d":"7.6"},{"v":0,"d":"0.0"},{"v":7.577854058457877,"d":"7.58"},8.2,7]
[261,0,3.2,4,138.71,1.5,{"v":7.1117978021479376,"d":"7.1"},{"v":0.5846229800648617,"d":"0.6"},{"v":6.527174822083077,"d":"6.53"},7.5,6]
[262,-1,3.2,8,88.22,1.6,{"v":6.4592826174287294,"d":"6.5"},{"v":0.6776783424176703,"d":"0.7"},{"v":5.781604275011059,"d":"5.78"},6.8,5]
[263,-2,3.2,15,53.35,1.68,{"v":5.734086286884822,"d":"5.7"},{"v":0.7480268153298646,"d":"0.7"},{"v":4.986059471554958,"d":"4.99"},6.1,4]
[264,-3,3.2,30,27.91,1.55,{"v":4.799922657142255,"d":"4.8"},{"v":0.6319012379253678,"d":"0.6"},{"v":4.168021419216887,"d":"4.17"},5.4,3]
[265,-4,3.2,60,13.22,1.43,{"v":3.722488431096743,"d":"3.7"},{"v":0.5157156443840052,"d":"0.5"},{"v":3.206772786712738,"d":"3.21"},4.7,2]
[266,-5,3.2,125,2.59,1.13,{"v":1.372155216749756,"d":"1.4"},{"v":0.17622043236495333,"d":"0.2"},{"v":1.1959347843848027,"d":"1.20"},4,1]
[267,-6,3.2,250,0.15,0.39,{"v":-2.735377019935138,"d":"-2.7"},{"v":-1.3576655046720225,"d":"-1.4"},{"v":-1.3777115152631159,"d":"-1.38"},3.3000000000000007,0]
[]
[{"$nulls":9},"Mean","S/N"]
[{"$nulls":3},"ISO 200","Luminos.","Luminos.","Luminos.","Luminos.","Luminos.","slope K =","slope ="]
["RAW","Exposure","Aperture f/",2,"Mean","Std Dev","log2(Mean)","log2(StdD)","log2(S/N)",0.7,1]
[]
[280,4,3.2,"2.5s",255,1,{"v":7.98971339904073,"d":"8.0"},{"v":0,"d":"0.0"},{"v":7.98971339904073,"d":"7.99"},10.3,10]
[279,3,3.2,"1.25s",255,1,{"v":7.98971339904073,"d":"8.0"},{"v":0,"d":"0.0"},{"v":7.98971339904073,"d":"7.99"},9.6,9]
[278,2,3.2,1.6,248.01,1,{"v":7.94963771859348,"d":"7.9"},{"v":0,"d":"0.0"},{"v":7.94963771859348,"d":"7.95"},8.9,8]
[277,1,3.2,3.2,205.77,1.18,{"v":7.680428431159455,"d":"7.7"},{"v":0.23864826425633617,"d":"0.2"},{"v":7.441780166903119,"d":"7.44"},8.2,7]
[271,0,3.2,6,156.03,1.83,{"v":7.2814509202017215,"d":"7.3"},{"v":0.8713376179050257,"d":"0.9"},{"v":6.410113302296695,"d":"6.41"},7.5,6]
[272,-1,3.2,13,103.04,2.22,{"v":6.6831794220522465,"d":"6.7"},{"v":1.1498918751761202,"d":"1.1"},{"v":5.533287546876126,"d":"5.53"},6.8,5]
[273,-2,3.2,25,62.8,2.33,{"v":5.9692260172074905,"d":"6.0"},{"v":1.219621657806383,"d":"1.2"},{"v":4.749604359401108,"d":"4.75"},6.1,4]
[274,-3,3.2,50,33.85,2.19,{"v":5.0781347944302615,"d":"5.1"},{"v":1.1302744612691928,"d":"1.1"},{"v":3.9478603331610684,"d":"3.95"},5.4,3]
[275,-4,3.2,100,16.78,1.96,{"v":4.066309295555702,"d":"4.1"},{"v":0.9702901569035003,"d":"1.0"},{"v":3.096019138652202,"d":"3.10"},4.7,2]
[276,-5,3.2,200,6.31,2.11,{"v":2.6560974726905258,"d":"2.7"},{"v":1.0766177515883395,"d":"1.1"},{"v":1.5794797211021863,"d":"1.58"},4,1]
[301,-6,5,400,0.88,1.06,{"v":-0.18431752846144014,"d":"-0.2"},{"v":0.08401547267903726,"d":"0.1"},{"v":-0.2683330011404775,"d":"-0.27"},3.3000000000000007,0]
[302,null,5,800,0.11,0.47,{"v":-3.182576285274693,"d":"-3.2"},{"v":-1.088635111653418,"d":"-1.1"},{"v":-2.0939411736212747,"d":"-2.09"},7.5,6]
[]
[]
[]
[{"$nulls":3}," "]
[{"$nulls":9},"Mean","S/N"]
[{"$nulls":3},"ISO 400","Luminos.","Luminos.","Luminos.","Luminos.","Luminos.","slope K =","slope ="]
["RAW","Exposure","Aperture f/","Time1/","Mean","Std Dev","log2(Mean)","log2(StdD)","log2(S/N)",0.7,1]
[]
[null,5,3.2,"2.5s",255,1,{"v":7.98971339904073,"d":"8.0"},{"v":0,"d":"0.0"},{"v":7.98971339904073,"d":"7.99"},11,11]
[289,4,3.2,"1.3s",255,1,{"v":7.98971339904073,"d":"8.0"},{"v":0,"d":"0.0"},{"v":7.98971339904073,"d":"7.99"},10.3,10]
[288,3,3.2,1.6,255,1,{"v":7.98971339904073,"d":"8.0"},{"v":0,"d":"0.0"},{"v":7.98971339904073,"d":"7.99"},9.6,9]
[287,2,3.2,3.2,247.53,0.99,{"v":7.946844434891596,"d":"7.9"},{"v":-0.014491153936134293,"d":"-0.0"},{"v":7.96133558882773,"d":"7.96"},8.9,8]
[286,1,3.2,6,204.73,1.71,{"v":7.673122534957619,"d":"7.7"},{"v":0.7735470865019506,"d":"0.8"},{"v":6.899575448455669,"d":"6.90"},8.2,7]
[281,0,3.2,15,134.88,3.21,{"v":7.071425890171814,"d":"7.1"},{"v":1.6815967075841753,"d":"1.7"},{"v":5.38982918258764,"d":"5.39"},7.5,6]
[282,-1,3.2,30,85.55,3.54,{"v":6.414970446072035,"d":"6.4"},{"v":1.8226908299256157,"d":"1.8"},{"v":4.59227961614642,"d":"4.59"},6.8,5]
[283,-2,3.2,60,51.98,4.01,{"v":5.696576433547779,"d":"5.7"},{"v":2.002439317099005,"d":"2.0"},{"v":3.6941371164487737,"d":"3.69"},6.1,4]
[284,-3,3.2,125,27.63,4.34,{"v":4.785384537922817,"d":"4.8"},{"v":2.1164659019815355,"d":"2.1"},{"v":2.668918635941282,"d":"2.67"},5.4,3]
[285,-4,3.2,250,13.59,4.52,{"v":3.7622885963518806,"d":"3.8"},{"v":2.1750596035737884,"d":"2.2"},{"v":1.5872289927780925,"d":"1.59"},4.7,2]
[300,-5,3.2,500,6.29,3.99,{"v":2.651520142878293,"d":"2.7"},{"v":1.995230013680004,"d":"2.0"},{"v":0.6562901291982886,"d":"0.66"},4,1]
[303,-6,5,1000,2.56,2.91,{"v":1.3553566848353407,"d":"1.4"},{"v":1.5401247234332123,"d":"1.5"},{"v":-0.18476803859787166,"d":"-0.18"},3.3000000000000007,0]
[]
[{"$nulls":9},"Mean","S/N"]
[{"$nulls":3},"ISO 800","Luminos.","Luminos.","Luminos.","Luminos.","Luminos.","slope K =","slope ="]
["RAW","Exposure","Aperture f/","Time1/","Mean","Std Dev","log2(Mean)","log2(StdD)","log2(S/N)",0.7,1,"gamma 2.2","Lin.","log2(gam)"]
[]
[null,6,3.2,0.4,255,1,{"v":7.98971339904073,"d":"8.0"},{"v":0,"d":"0.0"},{"v":7.98971339904073,"d":"7.99"},11.7,12]
[null,5,3.2,0.8,255,1,{"v":7.98971339904073,"d":"8.0"},{"v":0,"d":"0.0"},{"v":7.98971339904073,"d":"7.99"},11,11,255,null,{"v":7.994353436858857,"d":"8.0"}]
[299,4,3.2,1.6,255,1,{"v":7.98971339904073,"d":"8.0"},{"v":0,"d":"0.0"},{"v":7.98971339904073,"d":"7.99"},10.3,10,255,null,{"v":7.994353436858857,"d":"8.0"}]
[298,3,3.2,3.2,255,1,{"v":7.98971339904073,"d":"8.0"},{"v":0,"d":"0.0"},{"v":7.98971339904073,"d":"7.99"},9.6,9,256,9,{"v":8,"d":"8.0"}]
[297,2,3.2,6,248.53,1.34,{"v":7.952657681809551,"d":"8.0"},{"v":0.42198793057116135,"d":"0.4"},{"v":7.53066975123839,"d":"7.53"},8.9,8,187,8,{"v":7.546894459887636,"d":"7.5"}]
[296,1,3.2,13,204.44,2.55,{"v":7.6710786959802215,"d":"7.7"},{"v":1.3497133990407308,"d":"1.3"},{"v":6.32136529693949,"d":"6.32"},8.2,7,137,7,{"v":7.098032082960526,"d":"7.1"}]
[290,0,3.2,25,150.81,4.24,{"v":7.232388064626488,"d":"7.2"},{"v":2.0828546438878726,"d":"2.1"},{"v":5.149533420738616,"d":"5.15"},7.5,6,100,6,{"v":6.643856189774724,"d":"6.6"}]
[291,-1,3.2,50,100.08,5.34,{"v":6.641153024995407,"d":"6.6"},{"v":2.415436973334807,"d":"2.4"},{"v":4.2257160516606,"d":"4.23"},6.8,5,74,5,{"v":6.20945336562895,"d":"6.2"}]
[292,-2,3.2,100,63.3,6.27,{"v":5.980660317257619,"d":"6.0"},{"v":2.6469282355579784,"d":"2.6"},{"v":3.33373208169964,"d":"3.33"},6.1,4,54,4,{"v":5.754887502163469,"d":"5.8"}]
[293,-3,3.2,200,36.34,7.73,{"v":5.180477944267091,"d":"5.2"},{"v":2.9487559198088387,"d":"2.9"},{"v":2.2317220244582527,"d":"2.23"},5.4,3,39,3,{"v":5.285402218862248,"d":"5.3"}]
[294,-4,3.2,400,17.52,8.11,{"v":4.128533218082445,"d":"4.1"},{"v":3.0179492359810376,"d":"3.0"},{"v":1.1105839821014076,"d":"1.11"},4.7,2,29,2,{"v":4.857980995127572,"d":"4.9"}]
[295,-5,3.2,800,8.81,6.75,{"v":3.137320015927999,"d":"3.1"},{"v":2.753288525799003,"d":"2.8"},{"v":0.38403149012899634,"d":"0.38"},4,1,21,1,{"v":4.392317422778761,"d":"4.4"}]
[304,-6,10,1600,5.15,5.24,{"v":2.363200000416754,"d":"2.4"},{"v":2.3881798727859724,"d":"2.4"},{"v":-0.02497987236921833,"d":"-0.02"},3.3000000000000007,0,15,0,{"v":3.9068905956085187,"d":"3.9"}]
[{"$nulls":11},11,null,{"v":3.4594316186372978,"d":"3.5"}]
[{"$nulls":11},8,null,{"v":3,"d":"3.0"}]
[{"$nulls":11},6,null,{"v":2.584962500721156,"d":"2.6"}]

{"sheet":"FZ50 EV","index":8,"n_rows":92,"n_cols":16,"rows_kept":92,"flags":["formulas_cached_only"]}
[]
["2/25/08 SL",null,"FZ50","ISO 200",{"$nulls":3},"No: G6SCO4867 R"]
[{"$nulls":12},"S/N"]
[{"$nulls":5},"Colors","Colors","Luminos.","Luminos.","Colors","Colors","Luminos.","slope ="]
["RAW","EV","Aperture f/","Time1/","PP Exp","Mean","Std Dev","Mean","Std Dev","log2(Mean)","log2(S/N)","log2(S/N)",0.5]
[]
[209,2,2.8,1.6,-2,152.38,3.81,150.75,1.51,{"v":7.247320857866814,"d":"7.2"},{"v":5.318649938623758,"d":"5.32"},{"v":6.637610840083144,"d":"6.64"},7]
[208,1,2.8,3.2,-1,147.73,3.47,146.67,1.71,{"v":7.202636076785442,"d":"7.2"},{"v":5.408742220479741,"d":"5.41"},{"v":6.418706002883262,"d":"6.42"},6.5]
[207,0,2.8,6,0,146.38,4.35,145.77,2.42,{"v":7.189399386169584,"d":"7.2"},{"v":5.06961505308019,"d":"5.07"},{"v":5.909111255503428,"d":"5.91"},6]
[210,-1,2.8,13,1,143.28,6.97,141.91,3.67,{"v":7.158536101832036,"d":"7.2"},{"v":4.359003278546647,"d":"4.36"},{"v":5.269991826851834,"d":"5.27"},5.5]
[211,-2,2.8,25,2,140.12,9.94,138.67,5.36,{"v":7.126380427103573,"d":"7.1"},{"v":3.8150576309044935,"d":"3.82"},{"v":4.690554849855312,"d":"4.69"},5]
[]
[{"$nulls":5},"Colors","Colors","Luminos.","Luminos.","Colors","Colors","Luminos.","slope ="]
["RAW","EV","Aperture f/","Time1/","PP Exp","Mean","Std Dev","Mean","Std Dev","log2(Mean)","log2(S/N)","log2(S/N)",1]
[]
[209,2,2.8,1.6,0,242.4,2.32,241.41,0.96,{"v":7.916648283440905,"d":"7.9"},{"v":6.703228173603119,"d":"6.70"},{"v":7.9696069563834016,"d":"7.97"},7.5]
[208,1,2.8,3.2,0,198.46,3.12,197.51,1.55,{"v":7.6282743169045855,"d":"7.6"},{"v":5.987681064763356,"d":"5.99"},{"v":6.989454537554034,"d":"6.99"},6.5]
[207,0,2.8,6,0,146.38,4.35,145.77,2.42,{"v":7.189399386169584,"d":"7.2"},{"v":5.06961505308019,"d":"5.07"},{"v":5.909111255503428,"d":"5.91"},5.5]
[210,-1,2.8,13,0,95.38,5.36,94.31,2.78,{"v":6.571798296084856,"d":"6.6"},{"v":4.1509711943048595,"d":"4.15"},{"v":5.081302990465872,"d":"5.08"},4.5]
[211,-2,2.8,25,0,58.4,5.29,57.62,2.83,{"v":5.864490652413166,"d":"5.9"},{"v":3.4626178212563494,"d":"3.46"},{"v":4.3451722371547445,"d":"4.35"},3.5]
[]
[{"$nulls":4}," ",{"$nulls":7}," "]
[212,100,2.8,3.2,0,146.22,4.04,145.07,1.73,{"v":7.187822508166982,"d":"7.2"},{"v":5.174636375999772,"d":"5.17"},{"v":6.38612460629465,"d":"6.39"},7]
[207,200,2.8,6,0,146.38,4.35,145.77,2.42,{"v":7.189399386169584,"d":"7.2"},{"v":5.06961505308019,"d":"5.07"},{"v":5.909111255503428,"d":"5.91"},6.5]
[213,400,2.8,13,0,148.05,8.07,145.18,3.66,{"v":7.205755926928055,"d":"7.2"},{"v":4.1949357916507815,"d":"4.19"},{"v":5.306773346153922,"d":"5.31"},6]
[214,800,2.8,25,0,147.87,11.36,144.37,5.56,{"v":7.204001841942963,"d":"7.2"},{"v":3.7001457817779633,"d":"3.70"},{"v":4.695815187442027,"d":"4.70"},5.5]
[]
[]
[]
[]
[]
[]
[{"$nulls":8},"Is the influence of EV upon S/N "]
[{"$nulls":8},"different from changing ISO?"]
[{"$nulls":8},"NO"]
{"$rows_empty":29}
[{"$nulls":15}," "]
{"$rows_empty":26}
[{"$nulls":8}," "]

{"sheet":"VL1 ISO","index":9,"n_rows":18,"n_cols":11,"rows_kept":18,"flags":["formulas_cached_only"]}
[]
["2/19/08 SL",null,"V-LUX1","S/N vs ISO",null,null,"No: 3129518"]
[]
[{"$nulls":4},"Colors","Colors","Luminos.","Luminos.","Colors","Luminos.","S/N"]
["RAW","ISO","Aperture f/","Time1/","Mean","Std Dev","Mean","Std Dev","log2(S/N)","log2(S/N)","slope"]
[]
[336,100,2.8,4,142,3.36,142,1.54,{"v":5.3981509024174645,"d":"5.40"},{"v":6.52302851017469,"d":"6.52"},7.5]
[335,200,2.8,8,142,4.39,142,2.13,{"v":5.012615096147905,"d":"5.01"},{"v":6.055377019935138,"d":"6.06"},7]
[332,400,2.8,15,145,7.27,143,3.19,{"v":4.315447523368111,"d":"4.32"},{"v":5.483130576634164,"d":"5.48"},6.5]
[333,800,2.8,30,145,10.47,142,4.86,{"v":3.78951878424636,"d":"3.79"},{"v":4.865964889400933,"d":"4.87"},6]
[334,1600,2.8,60,146,16.48,143,7.84,{"v":3.145353552765489,"d":"3.15"},{"v":4.186586316271669,"d":"4.19"},5.5]
[]
["JPG"]
[336,100,2.8,4,142,2.21,143,1.29,{"v":6.0022149547171795,"d":"6.00"},{"v":6.788557806190497,"d":"6.79"},7.5]
[335,200,2.8,8,143,2.66,143,1.73,{"v":5.745108610768862,"d":"5.75"},{"v":6.365402581996404,"d":"6.37"},7]
[332,400,2.8,15,145,2.05,145,1.94,{"v":6.140718948715012,"d":"6.14"},{"v":6.2202400240517655,"d":"6.22"},6.5]
[333,800,2.8,30,144,2.77,144,2.63,{"v":5.69673064046226,"d":"5.70"},{"v":5.771510388770232,"d":"5.77"},6]
[334,1600,2.8,60,145,3.46,146,3.17,{"v":5.386009119428098,"d":"5.39"},{"v":5.522134730641396,"d":"5.52"},5.5]